## Sheet0
|  |  |  | R | R | R
Central Public Works Department
DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM
Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G.,
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | AISHWARYA CIVILTECH PRIVATE LIMITED
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Planning, Designing and Construction of RCC building (Stilt+4 Floors) Office Cum Lab Building (floor height 3.60m) including preparation of detailed working drawings, structural analysis & design, planning, designing & execution of all services including internal water supply & sanitary installations, Sewerage System, Drainage, External Sewer Lines, External Water Supply lines, Rain Water harvesting pits, Fans, power wiring & plugs, internal E & M installations, Civil External Service Connections, lightning conductor, Telephone conduits, Two nos. of 13 passengers Lifts of stainless steel finish (1 m/s), 11 KV / 0.433 KV substation, DG set, VRV / VRF system, online 3 phase UPS system, Grid interactive Roof top solar photo voltaic power generation System, water supply pump sets, IP based CCTV System, LAN system, IP based EPABX system, LED street lighting, Exhaust system for laboratories, insulated mini cold storage system, split type AC unit, fire fighting with wet riser and Sprinkler System including stilt area and Automatic fire alarm and voice evacuation system including stilt area by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil, E & M with External Development works all complete as per directions of Engineer- in-Charge.
A | Stilt Portion – 3.60 m floor height | 633 | sqm | Normal Item | 29892 | 18921636
B | Office - 3.60 m floor height | 2532 | sqm | Normal Item | 52892 | 133922544
2 | Planning, Designing and Execution of the following CIVIL development works & bulk services including preparation of preliminary & detailed working/ service drawings, structural drawings incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge.
2.1 | Planning, designing and construction of cement concrete Road for internal road and service road upto peripheral road and all around road as per architectural drawings and direction of Engineer – in – charge, of width as per lay out with 150mm thick VDF Reinforced Cement concrete of M-40 Grade using min. cement content of 400 Kg/Cum with necessary reinforcement as per the structural design over 100 mm thick bed of M-15 plain cement concrete laid over 150 mm thick Wet mix Macadam (Size range: 53mm to 0.075mm) and 30 cm thick moorum and providing and fixing Factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). Cutting 5mm wide and 50 mm deep groove in Vacuum dewatered concrete pavement and filling the joints with polyshulphide, pour grade sealing compound of ‘SIKA’ or equivalent suitable for sealing the expansion joints in roads / pavements all complete as per direction of Engineer-in-charge. Fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degrees to base .The reflective panels on both sides with at least 12 cm of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. Applying 75 mm wide and 2.5 mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. The area of road shall be measured in between kerb nearer to centimeter for Payment. All the above operations are included in this rate and nothing extra shall be paid on any account. | 400 | Sqm | Normal Item | 3000 | 1200000
2.2 | Planning, designing and construction of M-25 grade RCC storm water drain with perforated removable covers (with angle iron edge protection to withstand the traffic load) including necessary culverts etc. complete and as per direction of Engineer- in- charge, 450 mm wide minimum and varying depth (minimum depth 300 mm) required to maintain slope along the roads including excavation of earth to the required profile, laying PCC of M-10 grade in position under RCC bottom slab and finishing the side and bottom with cement mortar 1:3 (1 Cement : 3 Coarse sand) including cement punning in required gradient and providing Pipe culverts with RCC NP2 class pipes of required diameter at road crossings as per approved drawing, with parapet up to 1200 mm height on either side of culvert, with CC block masonry in CM 1:6 and finished with Cement mortar 1:6 and painted with Acrylic smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent). | 220 | metre | Normal Item | 2000 | 440000
2.3 | Planning and execution of Landscaping works i/c horticulture works including preparation of landscape drawings all complete as per directions of Engineer- in- Charge. The scope of work also includes maintenance for a period of 12 months. The work shall be executed as per Para 19.0 of Particular Specification at Page No.185 | 2400 | Sqm | Normal Item | 250 | 600000
2.4 | Planning, Designing and Construction of required No. of RCC Under Ground (one or more) Sumps totalling 1.50 lakh litres capacity with necessary partitions for domestic & fire fighting, along with pump room for accommodating diesel engine pump , electrical pump, jockey pump panels, piping with positive suction etc. as per NBC 2016 including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge. The work shall be executed as per detailed specifications mentioned at Page No.252 | 1 | Job | Normal Item | 2400000 | 2400000
2.5 | Planning, Designing and Construction of RCC Septic Tank for 100 users along with soak pit including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 1 | Job | Normal Item | 600000 | 600000
2.6 | Planning, Designing and Construction of Boundary wall 1.8 metre Normal height from Formed Ground level and 0.60 m high MS grill over it with required no. of MS gates/Wicket gates etc. in approved pattern as per Architectural Drawings including pile foundation, grade beam, RCC intermediate columns, RCC band cum coping, masonry walls with CC block 400x200x200mm size, plastering, Finishing walls with two or more coats Acrylic Smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent over 1 mm thick white cement based water proof wall putty in two coats to a thickness of 1.00 mm (total thickness) over cement plasters wall surface; synthetic enamel paint over a coat of steel primer of approved brand on steel work etc; complete including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 240 | metre | Normal Item | 9000 | 2160000
2.7 | Boring/drilling bore well of 150mmdiaminimum 250 feet deep including providing casing &strainer pipe (for pressure of 6kgf per sqcm) by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipment, tools, plants & machineries required for the job, including connecting the bore well with UG sump but excluding cost of pumpsets et: all complete as per direction of Engineer -in-charge. | 1 | Job | Normal Item | 50000 | 50000
CIVIL SUB TOTAL: | [5 empty] | 160294180
| Grand Total |  |  |  |  | 160294180
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor

## Sheet1
|  |  |  | R | R | R
Central Public Works Department
DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM
Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G.,
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | Dinesh Kumar Tikkiwal
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Planning, Designing and Construction of RCC building (Stilt+4 Floors) Office Cum Lab Building (floor height 3.60m) including preparation of detailed working drawings, structural analysis & design, planning, designing & execution of all services including internal water supply & sanitary installations, Sewerage System, Drainage, External Sewer Lines, External Water Supply lines, Rain Water harvesting pits, Fans, power wiring & plugs, internal E & M installations, Civil External Service Connections, lightning conductor, Telephone conduits, Two nos. of 13 passengers Lifts of stainless steel finish (1 m/s), 11 KV / 0.433 KV substation, DG set, VRV / VRF system, online 3 phase UPS system, Grid interactive Roof top solar photo voltaic power generation System, water supply pump sets, IP based CCTV System, LAN system, IP based EPABX system, LED street lighting, Exhaust system for laboratories, insulated mini cold storage system, split type AC unit, fire fighting with wet riser and Sprinkler System including stilt area and Automatic fire alarm and voice evacuation system including stilt area by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil, E & M with External Development works all complete as per directions of Engineer- in-Charge.
A | Stilt Portion – 3.60 m floor height | 633 | sqm | Normal Item | 26000 | 16458000
B | Office - 3.60 m floor height | 2532 | sqm | Normal Item | 40500 | 102546000
2 | Planning, Designing and Execution of the following CIVIL development works & bulk services including preparation of preliminary & detailed working/ service drawings, structural drawings incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge.
2.1 | Planning, designing and construction of cement concrete Road for internal road and service road upto peripheral road and all around road as per architectural drawings and direction of Engineer – in – charge, of width as per lay out with 150mm thick VDF Reinforced Cement concrete of M-40 Grade using min. cement content of 400 Kg/Cum with necessary reinforcement as per the structural design over 100 mm thick bed of M-15 plain cement concrete laid over 150 mm thick Wet mix Macadam (Size range: 53mm to 0.075mm) and 30 cm thick moorum and providing and fixing Factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). Cutting 5mm wide and 50 mm deep groove in Vacuum dewatered concrete pavement and filling the joints with polyshulphide, pour grade sealing compound of ‘SIKA’ or equivalent suitable for sealing the expansion joints in roads / pavements all complete as per direction of Engineer-in-charge. Fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degrees to base .The reflective panels on both sides with at least 12 cm of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. Applying 75 mm wide and 2.5 mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. The area of road shall be measured in between kerb nearer to centimeter for Payment. All the above operations are included in this rate and nothing extra shall be paid on any account. | 400 | Sqm | Normal Item | 5000 | 2000000
2.2 | Planning, designing and construction of M-25 grade RCC storm water drain with perforated removable covers (with angle iron edge protection to withstand the traffic load) including necessary culverts etc. complete and as per direction of Engineer- in- charge, 450 mm wide minimum and varying depth (minimum depth 300 mm) required to maintain slope along the roads including excavation of earth to the required profile, laying PCC of M-10 grade in position under RCC bottom slab and finishing the side and bottom with cement mortar 1:3 (1 Cement : 3 Coarse sand) including cement punning in required gradient and providing Pipe culverts with RCC NP2 class pipes of required diameter at road crossings as per approved drawing, with parapet up to 1200 mm height on either side of culvert, with CC block masonry in CM 1:6 and finished with Cement mortar 1:6 and painted with Acrylic smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent). | 220 | metre | Normal Item | 8000 | 1760000
2.3 | Planning and execution of Landscaping works i/c horticulture works including preparation of landscape drawings all complete as per directions of Engineer- in- Charge. The scope of work also includes maintenance for a period of 12 months. The work shall be executed as per Para 19.0 of Particular Specification at Page No.185 | 2400 | Sqm | Normal Item | 1000 | 2400000
2.4 | Planning, Designing and Construction of required No. of RCC Under Ground (one or more) Sumps totalling 1.50 lakh litres capacity with necessary partitions for domestic & fire fighting, along with pump room for accommodating diesel engine pump , electrical pump, jockey pump panels, piping with positive suction etc. as per NBC 2016 including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge. The work shall be executed as per detailed specifications mentioned at Page No.252 | 1 | Job | Normal Item | 2900000 | 2900000
2.5 | Planning, Designing and Construction of RCC Septic Tank for 100 users along with soak pit including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 1 | Job | Normal Item | 300000 | 300000
2.6 | Planning, Designing and Construction of Boundary wall 1.8 metre Normal height from Formed Ground level and 0.60 m high MS grill over it with required no. of MS gates/Wicket gates etc. in approved pattern as per Architectural Drawings including pile foundation, grade beam, RCC intermediate columns, RCC band cum coping, masonry walls with CC block 400x200x200mm size, plastering, Finishing walls with two or more coats Acrylic Smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent over 1 mm thick white cement based water proof wall putty in two coats to a thickness of 1.00 mm (total thickness) over cement plasters wall surface; synthetic enamel paint over a coat of steel primer of approved brand on steel work etc; complete including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 240 | metre | Normal Item | 10000 | 2400000
2.7 | Boring/drilling bore well of 150mmdiaminimum 250 feet deep including providing casing &strainer pipe (for pressure of 6kgf per sqcm) by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipment, tools, plants & machineries required for the job, including connecting the bore well with UG sump but excluding cost of pumpsets et: all complete as per direction of Engineer -in-charge. | 1 | Job | Normal Item | 300000 | 300000
CIVIL SUB TOTAL: | [5 empty] | 131064000
| Grand Total |  |  |  |  | 131064000
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor

## Sheet2
|  |  |  | R | R | R
Central Public Works Department
DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM
Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G.,
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | Lakshmi Constructions
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Planning, Designing and Construction of RCC building (Stilt+4 Floors) Office Cum Lab Building (floor height 3.60m) including preparation of detailed working drawings, structural analysis & design, planning, designing & execution of all services including internal water supply & sanitary installations, Sewerage System, Drainage, External Sewer Lines, External Water Supply lines, Rain Water harvesting pits, Fans, power wiring & plugs, internal E & M installations, Civil External Service Connections, lightning conductor, Telephone conduits, Two nos. of 13 passengers Lifts of stainless steel finish (1 m/s), 11 KV / 0.433 KV substation, DG set, VRV / VRF system, online 3 phase UPS system, Grid interactive Roof top solar photo voltaic power generation System, water supply pump sets, IP based CCTV System, LAN system, IP based EPABX system, LED street lighting, Exhaust system for laboratories, insulated mini cold storage system, split type AC unit, fire fighting with wet riser and Sprinkler System including stilt area and Automatic fire alarm and voice evacuation system including stilt area by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil, E & M with External Development works all complete as per directions of Engineer- in-Charge.
A | Stilt Portion – 3.60 m floor height | 633 | sqm | Normal Item | 23500 | 14875500
B | Office - 3.60 m floor height | 2532 | sqm | Normal Item | 51434.62 | 130232458
2 | Planning, Designing and Execution of the following CIVIL development works & bulk services including preparation of preliminary & detailed working/ service drawings, structural drawings incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge.
2.1 | Planning, designing and construction of cement concrete Road for internal road and service road upto peripheral road and all around road as per architectural drawings and direction of Engineer – in – charge, of width as per lay out with 150mm thick VDF Reinforced Cement concrete of M-40 Grade using min. cement content of 400 Kg/Cum with necessary reinforcement as per the structural design over 100 mm thick bed of M-15 plain cement concrete laid over 150 mm thick Wet mix Macadam (Size range: 53mm to 0.075mm) and 30 cm thick moorum and providing and fixing Factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). Cutting 5mm wide and 50 mm deep groove in Vacuum dewatered concrete pavement and filling the joints with polyshulphide, pour grade sealing compound of ‘SIKA’ or equivalent suitable for sealing the expansion joints in roads / pavements all complete as per direction of Engineer-in-charge. Fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degrees to base .The reflective panels on both sides with at least 12 cm of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. Applying 75 mm wide and 2.5 mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. The area of road shall be measured in between kerb nearer to centimeter for Payment. All the above operations are included in this rate and nothing extra shall be paid on any account. | 400 | Sqm | Normal Item | 3950 | 1580000
2.2 | Planning, designing and construction of M-25 grade RCC storm water drain with perforated removable covers (with angle iron edge protection to withstand the traffic load) including necessary culverts etc. complete and as per direction of Engineer- in- charge, 450 mm wide minimum and varying depth (minimum depth 300 mm) required to maintain slope along the roads including excavation of earth to the required profile, laying PCC of M-10 grade in position under RCC bottom slab and finishing the side and bottom with cement mortar 1:3 (1 Cement : 3 Coarse sand) including cement punning in required gradient and providing Pipe culverts with RCC NP2 class pipes of required diameter at road crossings as per approved drawing, with parapet up to 1200 mm height on either side of culvert, with CC block masonry in CM 1:6 and finished with Cement mortar 1:6 and painted with Acrylic smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent). | 220 | metre | Normal Item | 4545 | 999900
2.3 | Planning and execution of Landscaping works i/c horticulture works including preparation of landscape drawings all complete as per directions of Engineer- in- Charge. The scope of work also includes maintenance for a period of 12 months. The work shall be executed as per Para 19.0 of Particular Specification at Page No.185 | 2400 | Sqm | Normal Item | 425 | 1020000
2.4 | Planning, Designing and Construction of required No. of RCC Under Ground (one or more) Sumps totalling 1.50 lakh litres capacity with necessary partitions for domestic & fire fighting, along with pump room for accommodating diesel engine pump , electrical pump, jockey pump panels, piping with positive suction etc. as per NBC 2016 including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge. The work shall be executed as per detailed specifications mentioned at Page No.252 | 1 | Job | Normal Item | 1800000 | 1800000
2.5 | Planning, Designing and Construction of RCC Septic Tank for 100 users along with soak pit including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 1 | Job | Normal Item | 1200000 | 1200000
2.6 | Planning, Designing and Construction of Boundary wall 1.8 metre Normal height from Formed Ground level and 0.60 m high MS grill over it with required no. of MS gates/Wicket gates etc. in approved pattern as per Architectural Drawings including pile foundation, grade beam, RCC intermediate columns, RCC band cum coping, masonry walls with CC block 400x200x200mm size, plastering, Finishing walls with two or more coats Acrylic Smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent over 1 mm thick white cement based water proof wall putty in two coats to a thickness of 1.00 mm (total thickness) over cement plasters wall surface; synthetic enamel paint over a coat of steel primer of approved brand on steel work etc; complete including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 240 | metre | Normal Item | 4375 | 1050000
2.7 | Boring/drilling bore well of 150mmdiaminimum 250 feet deep including providing casing &strainer pipe (for pressure of 6kgf per sqcm) by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipment, tools, plants & machineries required for the job, including connecting the bore well with UG sump but excluding cost of pumpsets et: all complete as per direction of Engineer -in-charge. | 1 | Job | Normal Item | 459000 | 459000
CIVIL SUB TOTAL: | [5 empty] | 153216858
| Grand Total |  |  |  |  | 153216858
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor

## combined
|  |  |  | R | R | R
Central Public Works Department
DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM | DRAFT NIT/RFP No.: 06/2021-22/EE/RAJAMAHENDRAVARAM
Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G., | Name of Work: Architectural and structural design and construction of Office cum Lab building (Stilt and 4 floors) for MPEDA on EPC basis including Internal water supply, & Sanitary Installations, Sewerage system, Drainage & Development of Site, Internal Roads & Paths, External sewer lines, External water supply lines, Storm water drains,Rain water harvesting pits, Boundary wall, UG Sump, Septic Tank, Bore Well, Horticulture Development etc., and Internal & External Electrical Installations, Fans, Power wiring and plugs, Lightening conductors, Telephone conduits, Fire Fighting with wet riser and sprinkler system, Automatic Fire Alarm system, SITC of Lifts, 11KV/0.433KV Substation, DG set, VRV/VRF System, Online 3 phase UPS system, Grid Interactive Roof Top Solar Photo Voltaic Power Generation System, Water supply pump sets, IP based CCTV system, LAN system, IP based EPABX system, LED street lighting, Exhaust System, Insulated Mini Cold Storage System, Split Type AC Units etc., at Bhimavaram, W.G.,
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | AISHWARYA CIVILTECH PRIVATE LIMITED |  |  | Dinesh Kumar Tikkiwal |  |  | Lakshmi Constructions
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Planning, Designing and Construction of RCC building (Stilt+4 Floors) Office Cum Lab Building (floor height 3.60m) including preparation of detailed working drawings, structural analysis & design, planning, designing & execution of all services including internal water supply & sanitary installations, Sewerage System, Drainage, External Sewer Lines, External Water Supply lines, Rain Water harvesting pits, Fans, power wiring & plugs, internal E & M installations, Civil External Service Connections, lightning conductor, Telephone conduits, Two nos. of 13 passengers Lifts of stainless steel finish (1 m/s), 11 KV / 0.433 KV substation, DG set, VRV / VRF system, online 3 phase UPS system, Grid interactive Roof top solar photo voltaic power generation System, water supply pump sets, IP based CCTV System, LAN system, IP based EPABX system, LED street lighting, Exhaust system for laboratories, insulated mini cold storage system, split type AC unit, fire fighting with wet riser and Sprinkler System including stilt area and Automatic fire alarm and voice evacuation system including stilt area by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil, E & M with External Development works all complete as per directions of Engineer- in-Charge.
A | Stilt Portion – 3.60 m floor height | 633 | sqm | Normal Item | 29892 | 18921636 | Normal Item | 26000 | 16458000 | Normal Item | 23500 | 14875500
B | Office - 3.60 m floor height | 2532 | sqm | Normal Item | 52892 | 133922544 | Normal Item | 40500 | 102546000 | Normal Item | 51434.62 | 130232458
2 | Planning, Designing and Execution of the following CIVIL development works & bulk services including preparation of preliminary & detailed working/ service drawings, structural drawings incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge.
2.1 | Planning, designing and construction of cement concrete Road for internal road and service road upto peripheral road and all around road as per architectural drawings and direction of Engineer – in – charge, of width as per lay out with 150mm thick VDF Reinforced Cement concrete of M-40 Grade using min. cement content of 400 Kg/Cum with necessary reinforcement as per the structural design over 100 mm thick bed of M-15 plain cement concrete laid over 150 mm thick Wet mix Macadam (Size range: 53mm to 0.075mm) and 30 cm thick moorum and providing and fixing Factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). Cutting 5mm wide and 50 mm deep groove in Vacuum dewatered concrete pavement and filling the joints with polyshulphide, pour grade sealing compound of ‘SIKA’ or equivalent suitable for sealing the expansion joints in roads / pavements all complete as per direction of Engineer-in-charge. Fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degrees to base .The reflective panels on both sides with at least 12 cm of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. Applying 75 mm wide and 2.5 mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. The area of road shall be measured in between kerb nearer to centimeter for Payment. All the above operations are included in this rate and nothing extra shall be paid on any account. | 400 | Sqm | Normal Item | 3000 | 1200000 | Normal Item | 5000 | 2000000 | Normal Item | 3950 | 1580000
2.2 | Planning, designing and construction of M-25 grade RCC storm water drain with perforated removable covers (with angle iron edge protection to withstand the traffic load) including necessary culverts etc. complete and as per direction of Engineer- in- charge, 450 mm wide minimum and varying depth (minimum depth 300 mm) required to maintain slope along the roads including excavation of earth to the required profile, laying PCC of M-10 grade in position under RCC bottom slab and finishing the side and bottom with cement mortar 1:3 (1 Cement : 3 Coarse sand) including cement punning in required gradient and providing Pipe culverts with RCC NP2 class pipes of required diameter at road crossings as per approved drawing, with parapet up to 1200 mm height on either side of culvert, with CC block masonry in CM 1:6 and finished with Cement mortar 1:6 and painted with Acrylic smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent). | 220 | metre | Normal Item | 2000 | 440000 | Normal Item | 8000 | 1760000 | Normal Item | 4545 | 999900
2.3 | Planning and execution of Landscaping works i/c horticulture works including preparation of landscape drawings all complete as per directions of Engineer- in- Charge. The scope of work also includes maintenance for a period of 12 months. The work shall be executed as per Para 19.0 of Particular Specification at Page No.185 | 2400 | Sqm | Normal Item | 250 | 600000 | Normal Item | 1000 | 2400000 | Normal Item | 425 | 1020000
2.4 | Planning, Designing and Construction of required No. of RCC Under Ground (one or more) Sumps totalling 1.50 lakh litres capacity with necessary partitions for domestic & fire fighting, along with pump room for accommodating diesel engine pump , electrical pump, jockey pump panels, piping with positive suction etc. as per NBC 2016 including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer- in- Charge. The work shall be executed as per detailed specifications mentioned at Page No.252 | 1 | Job | Normal Item | 2400000 | 2400000 | Normal Item | 2900000 | 2900000 | Normal Item | 1800000 | 1800000
2.5 | Planning, Designing and Construction of RCC Septic Tank for 100 users along with soak pit including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 1 | Job | Normal Item | 600000 | 600000 | Normal Item | 300000 | 300000 | Normal Item | 1200000 | 1200000
2.6 | Planning, Designing and Construction of Boundary wall 1.8 metre Normal height from Formed Ground level and 0.60 m high MS grill over it with required no. of MS gates/Wicket gates etc. in approved pattern as per Architectural Drawings including pile foundation, grade beam, RCC intermediate columns, RCC band cum coping, masonry walls with CC block 400x200x200mm size, plastering, Finishing walls with two or more coats Acrylic Smooth exterior paint (APEX ULTIMA of Asian Paints or equivalent over 1 mm thick white cement based water proof wall putty in two coats to a thickness of 1.00 mm (total thickness) over cement plasters wall surface; synthetic enamel paint over a coat of steel primer of approved brand on steel work etc; complete including preparation of preliminary & detailed working drawings, structural analysis & design, planning, designing & execution of all services by incorporating stipulated specifications and integrating all services with External Development works all complete as per directions of Engineer-in-Charge. | 240 | metre | Normal Item | 9000 | 2160000 | Normal Item | 10000 | 2400000 | Normal Item | 4375 | 1050000
2.7 | Boring/drilling bore well of 150mmdiaminimum 250 feet deep including providing casing &strainer pipe (for pressure of 6kgf per sqcm) by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipment, tools, plants & machineries required for the job, including connecting the bore well with UG sump but excluding cost of pumpsets et: all complete as per direction of Engineer -in-charge. | 1 | Job | Normal Item | 50000 | 50000 | Normal Item | 300000 | 300000 | Normal Item | 459000 | 459000
CIVIL SUB TOTAL: | [5 empty] | 160294180 |  |  | 131064000 |  |  | 153216858
| Grand Total |  |  |  |  | 160294180 |  |  | 131064000 |  |  | 153216858
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
[5 empty] | Executive Engineer (E) |  |  | Executive Engineer (E) |  |  | Executive Engineer (E)
Contractor