## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025
Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | SHYASHEELRIT ENGINEERING
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
1 | Supply, installation, testing & commissioning of following non clogging type submersible pumps with all accessories having C.I. Casing & CI Impeller, CS Shaft, mechanical seal with all accessories, motor of required capacity, IP-68, Class-F/B insulation. Pressure gauge on delivery line with isolation Valves, Check valves, Auto level controllers to control panel & level of sump automatically, required size cables, guide ropes to guide submersible pump from upper level to operational level in sump basin with channels/angle section of MSEP, PVC flexible Hose pipe (for piping submerged in effluent), including the provision of by-pass arrangement of raw sewage with valves etc. including dismantling of the old pumps installed complete etc as required.
1.1 | (Raw Sewage Pumps in Equalisation Tank:) 2 HP, 415 V, 3 Phase Delivery size - 50 mm Flow rate (each) = 6.0 M3/Hr Head = 8 - 10 Mtr Particle Handling = 20 mm RPM = 2800-2900 Maximum Solid Size (in mm): 20-22 | 2 | EACH | Normal Item | 50500 | 101000
1.2 | (Additional Plant Room Submersible Sump Pumps:) 3 HP, 415 V, 3 Phase Delivery Size - 50 mm Flow rate (each) = 10 M3/Hr. Head = 12-15 Mts Particle Handling = 18 mm RPM = 2800-2900 Max. Solid Size (in mm) : 20-25 | 1 | EACH | Normal Item | 51500 | 51500
2 | Supply, installation, testing & commissioning of Centrifugal monoblock, Non-clog, self priming Sludge Transfer pumps of C.I. Casing, C.I. Impeller, CS Shaft, IP-55, Class-B insulation, mechanical seal with all accessories, motor of required capacity, isolation valves, check valves, pressure gauges i/c dismantling of the exisitng pump installed complete etc as required. 1 HP, 415 V, 3 Phase Flow rate (each) = 5.0 M3/Hr Head = 8-10 Mtr Particle Handling = 10 mm. Del Dia - 40 mm | 2 | EACH | Normal Item | 34300 | 68600
3 | Credit for the following dismantled items complete etc as required: Raw sewage pump - 2 Nos. Sludge transfer pump - 2 Nos. piping- Lot | 1 | LOT | Minus Item | 10100 | -10100
| Grand Total |  |  |  |  | 211000
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Assistant Engineer (E)-4

## combined
Central Public Works Department
DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025 | DRAFT NIT/RFP No.: SHORT NIQ NO. 23(25)/AE(E)-4/DED-31/2025-26/50 DATED 30/06/2025
Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump. | Name of Work: Operation & Maintenance of Civil Works and E&M Services at NCA-F Campus, Ghitorni, New Delhi during 2025-27. SH: Replacement of raw sewage pump, Submersible pump.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | SHYASHEELRIT ENGINEERING
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
1 | Supply, installation, testing & commissioning of following non clogging type submersible pumps with all accessories having C.I. Casing & CI Impeller, CS Shaft, mechanical seal with all accessories, motor of required capacity, IP-68, Class-F/B insulation. Pressure gauge on delivery line with isolation Valves, Check valves, Auto level controllers to control panel & level of sump automatically, required size cables, guide ropes to guide submersible pump from upper level to operational level in sump basin with channels/angle section of MSEP, PVC flexible Hose pipe (for piping submerged in effluent), including the provision of by-pass arrangement of raw sewage with valves etc. including dismantling of the old pumps installed complete etc as required.
1.1 | (Raw Sewage Pumps in Equalisation Tank:) 2 HP, 415 V, 3 Phase Delivery size - 50 mm Flow rate (each) = 6.0 M3/Hr Head = 8 - 10 Mtr Particle Handling = 20 mm RPM = 2800-2900 Maximum Solid Size (in mm): 20-22 | 2 | EACH | Normal Item | 50500 | 101000
1.2 | (Additional Plant Room Submersible Sump Pumps:) 3 HP, 415 V, 3 Phase Delivery Size - 50 mm Flow rate (each) = 10 M3/Hr. Head = 12-15 Mts Particle Handling = 18 mm RPM = 2800-2900 Max. Solid Size (in mm) : 20-25 | 1 | EACH | Normal Item | 51500 | 51500
2 | Supply, installation, testing & commissioning of Centrifugal monoblock, Non-clog, self priming Sludge Transfer pumps of C.I. Casing, C.I. Impeller, CS Shaft, IP-55, Class-B insulation, mechanical seal with all accessories, motor of required capacity, isolation valves, check valves, pressure gauges i/c dismantling of the exisitng pump installed complete etc as required. 1 HP, 415 V, 3 Phase Flow rate (each) = 5.0 M3/Hr Head = 8-10 Mtr Particle Handling = 10 mm. Del Dia - 40 mm | 2 | EACH | Normal Item | 34300 | 68600
3 | Credit for the following dismantled items complete etc as required: Raw sewage pump - 2 Nos. Sludge transfer pump - 2 Nos. piping- Lot | 1 | LOT | Minus Item | 10100 | -10100
| Grand Total |  |  |  |  | 211000
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Assistant Engineer (E)-4