## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26
Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | M/S AJMANI INFRASTRUCTURE AND PROJECTS PRIVATE LIMITED
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1.1 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : Erection of Aluminum German Hanger with certified fire-resistant & waterproof and blackout white tarpaulin Wind load-resistant and flame-retardant structure complete as per drawing & direction of Engineer-in-charge (minimum clear height-25 feet) | 2400 | sqm | Normal Item | 480 | 1152000
1.2 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : Wooden Elevated platform using 19mm BWP-grade board over MS/Wooden Batten minimum 40 mm height base frame. | 2400 | sqm | Normal Item | 250 | 600000
1.3 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : High-density synthetic carpet (flame retardant, stitched, wrinkle-free) of approved design. The carpet shall be fixed with suitable tape/nails etc. over existing surface as per site requirement and shall be covered with appropriate cover made of eco-friendly material to be removed before start of program as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 3000 | sqm | Normal Item | 65 | 195000
2.1 | Entrance Setup with Security Gates as per security protocol of NSG/ other security agencies: Toughened glass/PVC framed automatic/manual entry & exit gates, robing room and photopgraphic arena as per drawing | 1 | Lumpsum | Normal Item | 75000 | 75000
2.2 | Entrance Setup with Security Gates as per security protocol of NSG/ other security agencies: Frisking zone for SPG + deployment of Electronic security gadgets (Door frame metal detectors, baggage scanner) as per direction of Engineer-in-charge | 1 | Lumpsum | Normal Item | 125000 | 125000
3.1 | Main Stage Construction: Heavy-duty iron/MS truss with 19mm BWP board top, Dimensions and layout as per attached drawing, Two staircases with handrails, one wheelchair ramp, Wrapped with new high-quality synthetic carpet, Reinforced for 100+ persons live load, with decoration from fresh handpicked flowers as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 1 | Lumpsum | Normal Item | 425000 | 425000
4.1 | Toilets Setup: VVIP Washroom: 1 (Exclusive for Hon’ble President of India) as per norms | 1 | Each | Normal Item | 65000 | 65000
4.2 | Toilets Setup: On-stage toilets as per norms | 2 | Each | Normal Item | 65000 | 130000
4.3 | Toilets Setup: Providing and placing portable air conditioned toilets vanity van on hiring basis at different locations. The toilet vanity van shall be divided in to two parts namely Gent's Toilet and Women's Toilet. The gent's toilet shall be fitted with 01 Europian W.C.,4 urinal and 2 wash basins, similarly the ladies’ toilet shall be provided with 3 Europian W.C and 2 wash basins. Each W.C. shall be fitted with health faucet and flushing system. Effluent tank and fresh water tank having minimum capacity not less than 500 ltr and 200ltr respectively should have been provided in the toilet vanity van. The toilet vanity van shall be provided with toilet paper holder with paper roll in each WC, liquid hand wash of approved manufacturer, Dustbin in both ladies and gents toilet and tissue paper and hand dryer near wash basin. Foot mat to be placed on floor which shall be cleaned/washed regularly. One attendant with proper uniform for each toilet (Female attendant at ladies toilet and Male attendant at gent's toilet) should be deployed for cleaning & upkeepment during the function including placing in position, filling fresh water tank & emptying the effluent tank i/c spraying disnfectant/freshener in the toilet to prevent the odour whenever required. All W.C. must be fitted with exhaust fan including exhaust fan for each urinal area shall have been provided. The contractor himself arrange for emptying of effluent tank on his own cost. The toilet vanity van shall be available for use during the timing of Amrit udyan with water and other necessary facilities. Nothing extra shall be provided on account of transportation, effluent tank cleaning, water supply, fuel charges etc. If any attendant at toilet van is absent, a recovery of Rs. 1500/- daily for each attendant will be recovered from the bill of the contractor. Also if the contractor is failed to provide a clean and hygenic toilet at any time during its deployment of toilet vanity, a recovery of Rs. 5000/- each day will be made from the bill of the contractor etc complete as per direction of Engineer-in-charge. | 9 | Each | Normal Item | 20000 | 180000
4.4 | Toilets Setup: VVIP Lounge: 1 (All with concealed plumbing, running water, waste collection tank, ambient lighting, mirror, ventilation) | 1 | Lumpsum | Normal Item | 55000 | 55000
5.1 | Robing Rooms (2 Nos.): Designer partitioned space with 2 full-length mirrors (on stand), stools, ambient lighting, Decorative center table with fresh flower arrangements, Sofas & Chairs: Seating for 100 guests, including 20 VIP/VVIPs, carpeting, branding etc complete as per drawing & direction of Engineer-in-charge. | 2 | Each | Normal Item | 25000 | 50000
6.1 | Protocol Chairs & Tables (for Dais): Premium Chairs with medium or high backs, crafted from mild steel or hardwood with powder-coated or polished finishes, and should be upholstered in fire-retardant, stain-resistant fabric in colors harmonized with the Presidential chair for dias. Seat height should be around 18 inches with 2.5-inch medium-density PU foam cushioning for comfort. Chairs should be equipped with silent shoes and arranged with proper spacing, name tags, and alignment as per protocol guidelines. All furniture must be pre-approved by the Engineer-in-charge. | 10 | Per Unit | Normal Item | 2500 | 25000
6.2 | Protocol Chairs & Tables (for Dais): Protocol tables – Polished top with Indian emblem branding (if required) | 10 | Per Unit | Normal Item | 1500 | 15000
7.1.1 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Premium Chairs with medium or high backs, crafted from mild steel or hardwood with powder-coated or polished finishes, and should be upholstered in fire-retardant, stain-resistant fabric. Seat height should be around 18 inches with 2.5-inch medium-density PU foam cushioning for comfort. Chairs should be equipped with silent shoes and arranged with proper spacing, name tags, and alignment as per protocol guidelines. All furniture must be pre-approved by the Engineer-in-charge. All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 50 | Each | Normal Item | 250 | 12500
7.1.2 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Protocol tables – Polished top with Indian emblem branding (if required) All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 10 | Per Unit | Normal Item | 850 | 8500
7.1.3 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Standard banquet-style chairs or molded chairs with cushion padding, should be strong, lightweight, and stackable for ease of handling and quick deployment. Frames may be made of powder-coated mild steel or anodized aluminum to ensure durability and corrosion resistance. Seating surfaces must be cushioned with medium-density foam and upholstered with fire-retardant, stain-resistant fabric—preferably in a neutral color such as beige, cream, or grey that complements the main dais design. All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 2000 | Each | Normal Item | 200 | 400000
8.1 | 2-Seater Steel Frame Sofas with Cover: Padded steel sofas with upholstery & white/cream cover | 25 | Per Unit | Normal Item | 2000 | 50000
8.2 | 2-Seater Steel Frame Sofas with Cover: Front row for VIPs | 50 | Per Unit | Normal Item | 3250 | 162500
9.1 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Erection of Aluminum German Hanger with certified fire-resistant & waterproof and blackout white tarpaulin Wind load-resistant and flame-retardant structure complete as per drawing (minimum clear height-4.5 metre) | 900 | sqm | Normal Item | 480 | 432000
9.2 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Wooden Elevated platform using 19mm BWP-grade board over MS/Wooden Batten minimum 40 mm height base frame.(Total height-59mm) | 900 | sqm | Normal Item | 260 | 234000
9.3 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Brand new high-density synthetic carpet (flame retardant, stitched, wrinkle-free) of approved design. The carpet shall be fixed with suitable tape/nails etc. over existing surface as per site requirement and shall be covered with appropriate cover made of eco-friendly material to be removed before start of program as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 1000 | sqm | Normal Item | 63 | 63000
9.4 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Plywood walling with 3 compartments, each with a door | 1 | Lumpsum | Normal Item | 125000 | 125000
9.5 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Canopy-style portico, Interconnecting platform passage with ramp | 1 | Lumpsum | Normal Item | 75000 | 75000
9.6 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Mojo barriers for crowd control | 1 | Lumpsum | Normal Item | 205000 | 205000
9.7 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Hi-Tea lounge with buffet setup & lounge furniture | 1 | Lumpsum | Normal Item | 150000 | 150000
9.8 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Medical Room for VVIPs as per norms. | 1 | Lumpsum | Normal Item | 75000 | 75000
CIVIL SUB TOTAL: | [5 empty] | 5084500
ELECTRICAL WORK
1 | Hiring of DG set of appropriate capacity to cater to whole electrical Load in the Venue subjected to minimum of 1250 KVA with standby arrangement for DG. The price quoted shall be inclusive of Diesel. Cooling shall start atleast 4 hr prior to the start of the programme. | 1250 | KVA | Normal Item | 560 | 700000
2 | Hiring of Air conditioning to maintain 22-24 degree inside the whole area subjected to minimum of 500 TR. The Contractor will provide suitable AC system to keep the temprerature inside the whole Venue as 22-24 deg Celius. The succesfull Bidder has to bring minimum of 500 TR AC, however if the requirement is higher than 500 TR, the contractor shall complete the work within the quoted cost | 500 | TR | Normal Item | 2700 | 1350000
3 | SITC on hire basis of Along with AC Fan should installed at Venue as per CPWD specifications. | 1 | Lump Sump | Normal Item | 65000 | 65000
4 | SITC on hire basis of power distribution and transmission for entire Venue with 4 core insulated cable with Distribution board, MCB/ MCCB, Main Panel, Automatic switchover etc. | 1 | Lump Sump | Normal Item | 250000 | 250000
5 | SITC on hire basis of Internal Lighting through LED Metal Light to maintain sufficient Lux as per standard and power distribution thorugh out the Venue | 1 | Lump Sump | Normal Item | 95000 | 95000
6 | SITC on hire basis of Power cabling from Substation II to the main panel, inter connecting cables from DG to Main Panel etc | 1 | Lump Sump | Normal Item | 75000 | 75000
7 | SITC on hire basis of UPS to run AV system, Lighting on stage and emergency lighting on whole Venue subjected to minimum of 250 KVA. | 1 | Lump Sump | Normal Item | 125000 | 125000
8 | SITC on hire basis of Audio System of competent, professional, perfect working condition FOH sound equipemnt monitor system with tolerance hiss, buzz,hums, clics with acess and control over all house EQ, delay, crossover setting which must be able to reproduce 115dB SPL at FOH position, Speaker system rigged to fly inclusind the following system: L Acousitc, D& B, Adamson, British Acoustics, JBL Vertec with yamaha M7 CI FOH console, JBL VT4887 front fill, FOH outboard processing with Dolby Lake, setreo octave equalizer, compressor limiter, stage monitor system : Martin LE2100, JBL Vrx 915, Side fills: JBL SRX 725/728, Ear Monitor Sennihiser with streaming facilities and recording facilities. The successful Bidder shall install Audio System of high quality from premium brand like Martin Audio/ British Acoustics/JBL/Bose for the whole Venue | 1 | Lump Sump | Normal Item | 400000 | 400000
9 | SITC on hire basis of PA system | 3 | Per unit | Normal Item | 15000 | 45000
10 | SITC on hire basis of Proper Earthing and Lightning protection system as per norms | 1 | Lump Sump | Normal Item | 85000 | 85000
11 | SITC on hire basis of All arrangement required for Fire Fighting and Fire alarm as per requirement and standard | 1 | Lump Sump | Normal Item | 108000 | 108000
12 | SITC on hire basis of LED screen of 40 feet x 12 feet 128 x 128 pixel latest P3 LED wall with mapping with live mixing facility on the stage | 1 | each | Normal Item | 165000 | 165000
13 | SITC on hire basis of 8ft x 6ft LED screens | 4 | Nos. | Normal Item | 25000 | 100000
14 | SITC on hire basis of Stage Light Leko Profile , PAR 64, acl(32 Lamps) Molefays, Avolite pearl console, Clay packy sharpy, DTS Nick 600 ways, Martin Mac 101, LED Par etc or as other equivalent as per decision of Engineer-in-charge | 1 | Lump Sump | Normal Item | 125000 | 125000
15 | SITC on hire basis Networking for AV System and Internet requirement inside the Venue | 1 | Lump Sump | Normal Item | 100000 | 100000
16 | SITC on hire basis CCTV for monitoring the whole Venue along with recording facilities | 1 | Lump Sump | Normal Item | 75000 | 75000
ELECTRICAL SUB TOTAL: | [5 empty] | 3863000
| Grand Total |  |  |  |  | 8947500
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor

## combined
Central Public Works Department
DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26 | DRAFT NIT/RFP No.: 03/NIT/EE&SM(C)-II/IIT(ISM)/2025-26
Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad. | Name of Work: Erection of Pandals along with related works of civil, electrical, lighting, air-conditioning, audio-visual, emeregency power backup arrangement and all other related tasks for conducting the 45th convocation of IIT(ISM) Dhanbad.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | M/S AJMANI INFRASTRUCTURE AND PROJECTS PRIVATE LIMITED
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1.1 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : Erection of Aluminum German Hanger with certified fire-resistant & waterproof and blackout white tarpaulin Wind load-resistant and flame-retardant structure complete as per drawing & direction of Engineer-in-charge (minimum clear height-25 feet) | 2400 | sqm | Normal Item | 480 | 1152000
1.2 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : Wooden Elevated platform using 19mm BWP-grade board over MS/Wooden Batten minimum 40 mm height base frame. | 2400 | sqm | Normal Item | 250 | 600000
1.3 | Providing and erection on hire basis of AC Hanger along with platform, carpeting, power cabling, lights, DG Set etc. : High-density synthetic carpet (flame retardant, stitched, wrinkle-free) of approved design. The carpet shall be fixed with suitable tape/nails etc. over existing surface as per site requirement and shall be covered with appropriate cover made of eco-friendly material to be removed before start of program as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 3000 | sqm | Normal Item | 65 | 195000
2.1 | Entrance Setup with Security Gates as per security protocol of NSG/ other security agencies: Toughened glass/PVC framed automatic/manual entry & exit gates, robing room and photopgraphic arena as per drawing | 1 | Lumpsum | Normal Item | 75000 | 75000
2.2 | Entrance Setup with Security Gates as per security protocol of NSG/ other security agencies: Frisking zone for SPG + deployment of Electronic security gadgets (Door frame metal detectors, baggage scanner) as per direction of Engineer-in-charge | 1 | Lumpsum | Normal Item | 125000 | 125000
3.1 | Main Stage Construction: Heavy-duty iron/MS truss with 19mm BWP board top, Dimensions and layout as per attached drawing, Two staircases with handrails, one wheelchair ramp, Wrapped with new high-quality synthetic carpet, Reinforced for 100+ persons live load, with decoration from fresh handpicked flowers as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 1 | Lumpsum | Normal Item | 425000 | 425000
4.1 | Toilets Setup: VVIP Washroom: 1 (Exclusive for Hon’ble President of India) as per norms | 1 | Each | Normal Item | 65000 | 65000
4.2 | Toilets Setup: On-stage toilets as per norms | 2 | Each | Normal Item | 65000 | 130000
4.3 | Toilets Setup: Providing and placing portable air conditioned toilets vanity van on hiring basis at different locations. The toilet vanity van shall be divided in to two parts namely Gent's Toilet and Women's Toilet. The gent's toilet shall be fitted with 01 Europian W.C.,4 urinal and 2 wash basins, similarly the ladies’ toilet shall be provided with 3 Europian W.C and 2 wash basins. Each W.C. shall be fitted with health faucet and flushing system. Effluent tank and fresh water tank having minimum capacity not less than 500 ltr and 200ltr respectively should have been provided in the toilet vanity van. The toilet vanity van shall be provided with toilet paper holder with paper roll in each WC, liquid hand wash of approved manufacturer, Dustbin in both ladies and gents toilet and tissue paper and hand dryer near wash basin. Foot mat to be placed on floor which shall be cleaned/washed regularly. One attendant with proper uniform for each toilet (Female attendant at ladies toilet and Male attendant at gent's toilet) should be deployed for cleaning & upkeepment during the function including placing in position, filling fresh water tank & emptying the effluent tank i/c spraying disnfectant/freshener in the toilet to prevent the odour whenever required. All W.C. must be fitted with exhaust fan including exhaust fan for each urinal area shall have been provided. The contractor himself arrange for emptying of effluent tank on his own cost. The toilet vanity van shall be available for use during the timing of Amrit udyan with water and other necessary facilities. Nothing extra shall be provided on account of transportation, effluent tank cleaning, water supply, fuel charges etc. If any attendant at toilet van is absent, a recovery of Rs. 1500/- daily for each attendant will be recovered from the bill of the contractor. Also if the contractor is failed to provide a clean and hygenic toilet at any time during its deployment of toilet vanity, a recovery of Rs. 5000/- each day will be made from the bill of the contractor etc complete as per direction of Engineer-in-charge. | 9 | Each | Normal Item | 20000 | 180000
4.4 | Toilets Setup: VVIP Lounge: 1 (All with concealed plumbing, running water, waste collection tank, ambient lighting, mirror, ventilation) | 1 | Lumpsum | Normal Item | 55000 | 55000
5.1 | Robing Rooms (2 Nos.): Designer partitioned space with 2 full-length mirrors (on stand), stools, ambient lighting, Decorative center table with fresh flower arrangements, Sofas & Chairs: Seating for 100 guests, including 20 VIP/VVIPs, carpeting, branding etc complete as per drawing & direction of Engineer-in-charge. | 2 | Each | Normal Item | 25000 | 50000
6.1 | Protocol Chairs & Tables (for Dais): Premium Chairs with medium or high backs, crafted from mild steel or hardwood with powder-coated or polished finishes, and should be upholstered in fire-retardant, stain-resistant fabric in colors harmonized with the Presidential chair for dias. Seat height should be around 18 inches with 2.5-inch medium-density PU foam cushioning for comfort. Chairs should be equipped with silent shoes and arranged with proper spacing, name tags, and alignment as per protocol guidelines. All furniture must be pre-approved by the Engineer-in-charge. | 10 | Per Unit | Normal Item | 2500 | 25000
6.2 | Protocol Chairs & Tables (for Dais): Protocol tables – Polished top with Indian emblem branding (if required) | 10 | Per Unit | Normal Item | 1500 | 15000
7.1.1 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Premium Chairs with medium or high backs, crafted from mild steel or hardwood with powder-coated or polished finishes, and should be upholstered in fire-retardant, stain-resistant fabric. Seat height should be around 18 inches with 2.5-inch medium-density PU foam cushioning for comfort. Chairs should be equipped with silent shoes and arranged with proper spacing, name tags, and alignment as per protocol guidelines. All furniture must be pre-approved by the Engineer-in-charge. All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 50 | Each | Normal Item | 250 | 12500
7.1.2 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Protocol tables – Polished top with Indian emblem branding (if required) All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 10 | Per Unit | Normal Item | 850 | 8500
7.1.3 | Cushion Chairs: Premium banquet chairs with cushioned backrest & satin cover: Standard banquet-style chairs or molded chairs with cushion padding, should be strong, lightweight, and stackable for ease of handling and quick deployment. Frames may be made of powder-coated mild steel or anodized aluminum to ensure durability and corrosion resistance. Seating surfaces must be cushioned with medium-density foam and upholstered with fire-retardant, stain-resistant fabric—preferably in a neutral color such as beige, cream, or grey that complements the main dais design. All chairs should include anti-skid leg tips to ensure stability on platform or carpeting. Seating should be arranged in symmetrical rows with proper aisle spacing (minimum 1.2 meters for central aisle and 0.9 meters for side aisles), in accordance with fire and evacuation norms. VIP blocks, if any within the 2,500 capacity, may be distinguished using covered chairs with satin or stretch fabric covers and sashes. Emergency exit pathways must remain unobstructed at all times. | 2000 | Each | Normal Item | 200 | 400000
8.1 | 2-Seater Steel Frame Sofas with Cover: Padded steel sofas with upholstery & white/cream cover | 25 | Per Unit | Normal Item | 2000 | 50000
8.2 | 2-Seater Steel Frame Sofas with Cover: Front row for VIPs | 50 | Per Unit | Normal Item | 3250 | 162500
9.1 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Erection of Aluminum German Hanger with certified fire-resistant & waterproof and blackout white tarpaulin Wind load-resistant and flame-retardant structure complete as per drawing (minimum clear height-4.5 metre) | 900 | sqm | Normal Item | 480 | 432000
9.2 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Wooden Elevated platform using 19mm BWP-grade board over MS/Wooden Batten minimum 40 mm height base frame.(Total height-59mm) | 900 | sqm | Normal Item | 260 | 234000
9.3 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Brand new high-density synthetic carpet (flame retardant, stitched, wrinkle-free) of approved design. The carpet shall be fixed with suitable tape/nails etc. over existing surface as per site requirement and shall be covered with appropriate cover made of eco-friendly material to be removed before start of program as per direction of Engineer-in-charge.(Minimum height above ground-1200mm) | 1000 | sqm | Normal Item | 63 | 63000
9.4 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Plywood walling with 3 compartments, each with a door | 1 | Lumpsum | Normal Item | 125000 | 125000
9.5 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Canopy-style portico, Interconnecting platform passage with ramp | 1 | Lumpsum | Normal Item | 75000 | 75000
9.6 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Mojo barriers for crowd control | 1 | Lumpsum | Normal Item | 205000 | 205000
9.7 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Hi-Tea lounge with buffet setup & lounge furniture | 1 | Lumpsum | Normal Item | 150000 | 150000
9.8 | President’s Lounge + Medical Room + Photography Arena + Robing + Hi-Tea Lounge + Lounge furniture & buffet setup.: Medical Room for VVIPs as per norms. | 1 | Lumpsum | Normal Item | 75000 | 75000
CIVIL SUB TOTAL: | [5 empty] | 5084500
ELECTRICAL WORK
1 | Hiring of DG set of appropriate capacity to cater to whole electrical Load in the Venue subjected to minimum of 1250 KVA with standby arrangement for DG. The price quoted shall be inclusive of Diesel. Cooling shall start atleast 4 hr prior to the start of the programme. | 1250 | KVA | Normal Item | 560 | 700000
2 | Hiring of Air conditioning to maintain 22-24 degree inside the whole area subjected to minimum of 500 TR. The Contractor will provide suitable AC system to keep the temprerature inside the whole Venue as 22-24 deg Celius. The succesfull Bidder has to bring minimum of 500 TR AC, however if the requirement is higher than 500 TR, the contractor shall complete the work within the quoted cost | 500 | TR | Normal Item | 2700 | 1350000
3 | SITC on hire basis of Along with AC Fan should installed at Venue as per CPWD specifications. | 1 | Lump Sump | Normal Item | 65000 | 65000
4 | SITC on hire basis of power distribution and transmission for entire Venue with 4 core insulated cable with Distribution board, MCB/ MCCB, Main Panel, Automatic switchover etc. | 1 | Lump Sump | Normal Item | 250000 | 250000
5 | SITC on hire basis of Internal Lighting through LED Metal Light to maintain sufficient Lux as per standard and power distribution thorugh out the Venue | 1 | Lump Sump | Normal Item | 95000 | 95000
6 | SITC on hire basis of Power cabling from Substation II to the main panel, inter connecting cables from DG to Main Panel etc | 1 | Lump Sump | Normal Item | 75000 | 75000
7 | SITC on hire basis of UPS to run AV system, Lighting on stage and emergency lighting on whole Venue subjected to minimum of 250 KVA. | 1 | Lump Sump | Normal Item | 125000 | 125000
8 | SITC on hire basis of Audio System of competent, professional, perfect working condition FOH sound equipemnt monitor system with tolerance hiss, buzz,hums, clics with acess and control over all house EQ, delay, crossover setting which must be able to reproduce 115dB SPL at FOH position, Speaker system rigged to fly inclusind the following system: L Acousitc, D& B, Adamson, British Acoustics, JBL Vertec with yamaha M7 CI FOH console, JBL VT4887 front fill, FOH outboard processing with Dolby Lake, setreo octave equalizer, compressor limiter, stage monitor system : Martin LE2100, JBL Vrx 915, Side fills: JBL SRX 725/728, Ear Monitor Sennihiser with streaming facilities and recording facilities. The successful Bidder shall install Audio System of high quality from premium brand like Martin Audio/ British Acoustics/JBL/Bose for the whole Venue | 1 | Lump Sump | Normal Item | 400000 | 400000
9 | SITC on hire basis of PA system | 3 | Per unit | Normal Item | 15000 | 45000
10 | SITC on hire basis of Proper Earthing and Lightning protection system as per norms | 1 | Lump Sump | Normal Item | 85000 | 85000
11 | SITC on hire basis of All arrangement required for Fire Fighting and Fire alarm as per requirement and standard | 1 | Lump Sump | Normal Item | 108000 | 108000
12 | SITC on hire basis of LED screen of 40 feet x 12 feet 128 x 128 pixel latest P3 LED wall with mapping with live mixing facility on the stage | 1 | each | Normal Item | 165000 | 165000
13 | SITC on hire basis of 8ft x 6ft LED screens | 4 | Nos. | Normal Item | 25000 | 100000
14 | SITC on hire basis of Stage Light Leko Profile , PAR 64, acl(32 Lamps) Molefays, Avolite pearl console, Clay packy sharpy, DTS Nick 600 ways, Martin Mac 101, LED Par etc or as other equivalent as per decision of Engineer-in-charge | 1 | Lump Sump | Normal Item | 125000 | 125000
15 | SITC on hire basis Networking for AV System and Internet requirement inside the Venue | 1 | Lump Sump | Normal Item | 100000 | 100000
16 | SITC on hire basis CCTV for monitoring the whole Venue along with recording facilities | 1 | Lump Sump | Normal Item | 75000 | 75000
ELECTRICAL SUB TOTAL: | [5 empty] | 3863000
| Grand Total |  |  |  |  | 8947500
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor