## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | M/s Hilltrack Constructions Pvt. Ltd
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 56818 | 340908000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 5080 | 15240000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 4213 | 4423650
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 26019 | 5203800
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 7744 | 2323200
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 2726 | 817800
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 2478 | 743400
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 2478 | 19452300
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 2230 | 669000
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 3098 | 1239200
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 805 | 2415000
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 3965 | 1586000
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 5080 | 2032000
TOTAL (A): | [5 empty] | 397053350
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 9912 | 118944
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 11151 | 133812
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 12390 | 148680
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 13629 | 163548
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 14868 | 178416
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 26019 | 312228
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 27258 | 327096
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 28497 | 341964
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 29736 | 356832
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 30975 | 371700
TOTAL(B) | [5 empty] | 2453220
| Grand Total |  |  |  |  | 399506570
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E)

## Sheet1
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | SUKHDEVRAJ SHARMA ENGINEERS AND CONTRACTORS PVT LTD
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 45783 | 274698000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 2408 | 7224000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 2799 | 2938950
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 9077 | 1815400
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 2134 | 640200
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 504 | 151200
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 504 | 151200
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 174 | 1365900
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 1634 | 490200
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 1089 | 435600
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 43.76 | 131280
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 2723 | 1089200
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 1360 | 544000
TOTAL (A): | [5 empty] | 291675130
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 12291 | 147492
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 15322 | 183864
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 19165 | 229980
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 24198 | 290376
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 30552 | 366624
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 14750 | 177000
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 18623 | 223476
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 23514 | 282168
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 29966 | 359592
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 37835 | 454020
TOTAL(B) | [5 empty] | 2714592
| Grand Total |  |  |  |  | 294389722
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E)

## Sheet2
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | SUNEHARI BAGH BUILDERS PVT LTD
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 48500 | 291000000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 2000 | 6000000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 2500 | 2625000
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 5000 | 1000000
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 2500 | 750000
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 2500 | 750000
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 2500 | 750000
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 100 | 785000
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 2000 | 600000
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 1000 | 400000
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 500 | 1500000
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 3000 | 1200000
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 2000 | 800000
TOTAL (A): | [5 empty] | 308160000
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 1500 | 18000
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 1600 | 19200
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 1700 | 20400
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 1800 | 21600
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 2000 | 24000
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 1500 | 18000
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 1600 | 19200
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 1700 | 20400
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 1800 | 21600
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 2000 | 24000
TOTAL(B) | [5 empty] | 206400
| Grand Total |  |  |  |  | 308366400
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E)

## Sheet3
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | T.O.Ittoop & Associates
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 50330 | 301980000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 3000 | 9000000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 6000 | 6300000
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 7500 | 1500000
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 3500 | 1050000
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 2500 | 750000
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 2500 | 750000
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 290 | 2276500
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 3000 | 900000
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 2100 | 840000
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 250 | 750000
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 8160 | 3264000
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 12600 | 5040000
TOTAL (A): | [5 empty] | 334400500
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 6000 | 72000
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 6300 | 75600
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 6615 | 79380
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 6950 | 83400
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 7300 | 87600
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 19500 | 234000
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 20500 | 246000
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 21500 | 258000
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 22575 | 270900
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 23700 | 284400
TOTAL(B) | [5 empty] | 1691280
| Grand Total |  |  |  |  | 336091780
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E)

## Sheet4
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | M/S. TEEMAGE BUILDERSPRIVATE LIMITED
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 47066 | 282396000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 1600 | 4800000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 1500 | 1575000
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 6500 | 1300000
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 4200 | 1260000
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 980 | 294000
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 1000 | 300000
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 80 | 628000
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 100 | 30000
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 1100 | 440000
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 150 | 450000
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 1250 | 500000
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 2104.13 | 841652
TOTAL (A): | [5 empty] | 294814652
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 6000 | 72000
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 6300 | 75600
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 6648 | 79776
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 6980 | 83760
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 7328 | 87936
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 7335 | 88020
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 7700 | 92400
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 8085 | 97020
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 8490 | 101880
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 8913 | 106956
TOTAL(B) | [5 empty] | 885348
| Grand Total |  |  |  |  | 295700000
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E)

## combined
Central Public Works Department
DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23 | DRAFT NIT/RFP No.: 01/EE&SM(C)-I/PPZ/2022-23
Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala. | Name of Work: Construction of Research Complex (D03) (G plus 2) including all services, External development, and bulk services on Engineering Procurement and Construction (EPC Mode- I) in Permanent Campus of IIT Palakkad at village pudussery, Kanjikode West, Palakkad, Kerala.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | M/s Hilltrack Constructions Pvt. Ltd |  |  | SUKHDEVRAJ SHARMA ENGINEERS AND CONTRACTORS PVT LTD |  |  | SUNEHARI BAGH BUILDERS PVT LTD |  |  | T.O.Ittoop & Associates |  |  | M/S. TEEMAGE BUILDERSPRIVATE LIMITED
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Construction of RCC (G+2) building as per architectural drawings to be prepared and finalized based on the concept plan provided including design and preparation of all architectural drawings (as required), structural drawings, including vetting of all structural drawings, planning, designing & execution of all services including internal water supply & sanitary installations, terrace service water tank, internal electrical installations, fire alarm & fire fighting system, lightning protection system, HVAC system, Lifts (2Nos), UPS, networking, CCTV, BMS, access control system, emergency signages etc, by incorporating stipulated specifications and integrating all internal & external services pertaining to Civil and E & M components with external development works all complete as per directions of Engineer- in-Charge. The work shall be executed as per detailed specifications and scope of work mentioned in Part B & C. | 6000 | Sqm | Normal Item | 56818 | 340908000 | Normal Item | 45783 | 274698000 | Normal Item | 48500 | 291000000 | Normal Item | 50330 | 301980000 | Normal Item | 47066 | 282396000
2 | Development Works
2.1 | Planning, Design and Construction of internal road with GSB, WMM, Bitumen macadam and bituminous top as per specifications. Work includes construction of road i/c all layers as per drawings & specifications submitted by the agency and approved by Engineer in charge, fixing and painting kerb stones, kerb channels, road marking and road signages. The work shall be executed as per detailed specifications and scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 3000 | Sqm | Normal Item | 5080 | 15240000 | Normal Item | 2408 | 7224000 | Normal Item | 2000 | 6000000 | Normal Item | 3000 | 9000000 | Normal Item | 1600 | 4800000
2.2 | Planning, Design and Construction of footpath of width as per approved GFC. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 1050 | Sqm | Normal Item | 4213 | 4423650 | Normal Item | 2799 | 2938950 | Normal Item | 2500 | 2625000 | Normal Item | 6000 | 6300000 | Normal Item | 1500 | 1575000
2.3 | Planning, Design and Construction of RCC storm water drain network for draining the runoff from roof of the building, road / paved surface and the entire plot under development to the existing water body near the building including required excavation, filling, etc, preparation and design of structural drawing. Drain shall be covered using factory made pre cast RCC perforated drain covers as per directions of Engineer-in-Charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 200 | Metre | Normal Item | 26019 | 5203800 | Normal Item | 9077 | 1815400 | Normal Item | 5000 | 1000000 | Normal Item | 7500 | 1500000 | Normal Item | 6500 | 1300000
2.4 | Planning, Design, supply, laying and testing of Sewer line network with RCC NP2 pipes including the connection of the main line to existing sewerage network including manholes of required size, shape and depth complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge. | 300 | Metre | Normal Item | 7744 | 2323200 | Normal Item | 2134 | 640200 | Normal Item | 2500 | 750000 | Normal Item | 3500 | 1050000 | Normal Item | 4200 | 1260000
2.5 | Planning, Design supply, laying and commissioning of Water/ Treated water supply main, branch and distribution lines including chambers and fittings /specials such as Tees, Bends, collars, Unions, tappers, caps, Sluice Valves, Gate Valves, scour valves, non-return valves, air-relief valves, thrust blocks etc. complete and as per direction of Engineer- in- charge. The work shall be executed as per detailed specifications/scope of work mentioned in Part B and drawings submitted by the agency and approved by Engineer in charge.
2.5.1 | Treated domestic water supply | 300 | Metre | Normal Item | 2726 | 817800 | Normal Item | 504 | 151200 | Normal Item | 2500 | 750000 | Normal Item | 2500 | 750000 | Normal Item | 980 | 294000
2.5.2 | Flushing water supply | 300 | Metre | Normal Item | 2478 | 743400 | Normal Item | 504 | 151200 | Normal Item | 2500 | 750000 | Normal Item | 2500 | 750000 | Normal Item | 1000 | 300000
2.6 | Design, supply, installation/ laying, testing and commissioning of streetlights in the developed area using octagonal streetlight poles for roads, post top & bollard fittings for pathways etc so as to achieve sufficient illumination complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The area to be considered for this item shall include the total usable developed area excluding building, embankments etc.) | 7850 | Sqm | Normal Item | 2478 | 19452300 | Normal Item | 174 | 1365900 | Normal Item | 100 | 785000 | Normal Item | 290 | 2276500 | Normal Item | 80 | 628000
2.7 | Design, supply, installation/ laying, testing and commissioning of electrical service connection from tapping point including protection, route markers, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to building main electrical panel.) | 300 | Metre | Normal Item | 2230 | 669000 | Normal Item | 1634 | 490200 | Normal Item | 2000 | 600000 | Normal Item | 3000 | 900000 | Normal Item | 100 | 30000
2.8 | Design, supply, installation/ laying, testing and commissioning of set of 2 nos 100 mm dia, SDR 11 HDPE extra low voltage (ELV) service duct from tap off chamber including all accessories, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 3098 | 1239200 | Normal Item | 1089 | 435600 | Normal Item | 1000 | 400000 | Normal Item | 2100 | 840000 | Normal Item | 1100 | 440000
2.9 | Supply, laying, testing and commissioning of 24 core, outdoor armoured OFC cable inside existing service ducts including all accessories, loop holders, supports, terminations etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the cable length from server room to building distribution rack.) | 3000 | Metre | Normal Item | 805 | 2415000 | Normal Item | 43.76 | 131280 | Normal Item | 500 | 1500000 | Normal Item | 250 | 750000 | Normal Item | 150 | 450000
2.1 | Design, supply, installation/ laying, testing and commissioning of 200 mm dia wet riser service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 3965 | 1586000 | Normal Item | 2723 | 1089200 | Normal Item | 3000 | 1200000 | Normal Item | 8160 | 3264000 | Normal Item | 1250 | 500000
2.11 | Design, supply, installation/ laying, testing and commissioning of HVAC chilled water service connection from tap off point including all accessories, valves, chambers, earthwork, supports, modifications etc complete as required. The work shall be executed as per detailed specifications and scope of work mentioned in Part C and drawings submitted by the agency and approved by the Engineer in charge. (The length to be considered for this item shall be the centre line length along the service from tap off point to the developed plot boundary.) | 400 | Metre | Normal Item | 5080 | 2032000 | Normal Item | 1360 | 544000 | Normal Item | 2000 | 800000 | Normal Item | 12600 | 5040000 | Normal Item | 2104.13 | 841652
TOTAL (A): | [5 empty] | 397053350 |  |  | 291675130 |  |  | 308160000 |  |  | 334400500 |  |  | 294814652
Comprehensive Maintenance of Lift after 3 years Free Maintenance Period.
AMC contract agreement will be executed immediately after handing over with the Manufacturer and IIT Palakkad. It is the responsibility of the contractor to get the agreement executed by the manufacturer for the same amount of his agreement. Security deposit will be released only after finalization of AMC agreement with the client department. This component of the work not included in the ECPT, but rate quoted will be considered for finding the lowest.
Research Complex (D3)
Annual comprehensive maintenance of following capacity passenger/ Goods MRL lift, simplex automatic push button with/ without attendant lifts which include routine preventive and break down maintenance for a period of five years i/c repair, replacement of worn out items with minimum down time warranty & guarantee of repaired/ replaced items i/c lamps, battery of ARD, lighting system etc after completion of one year of guarantee period. (Rate quoted shall be per month per lift)
1 | 1 No 13 passenger (G+2) MRL lift – Research Complex (D3)
1.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 9912 | 118944 | Normal Item | 12291 | 147492 | Normal Item | 1500 | 18000 | Normal Item | 6000 | 72000 | Normal Item | 6000 | 72000
1.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 11151 | 133812 | Normal Item | 15322 | 183864 | Normal Item | 1600 | 19200 | Normal Item | 6300 | 75600 | Normal Item | 6300 | 75600
1.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 12390 | 148680 | Normal Item | 19165 | 229980 | Normal Item | 1700 | 20400 | Normal Item | 6615 | 79380 | Normal Item | 6648 | 79776
1.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 13629 | 163548 | Normal Item | 24198 | 290376 | Normal Item | 1800 | 21600 | Normal Item | 6950 | 83400 | Normal Item | 6980 | 83760
1.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 14868 | 178416 | Normal Item | 30552 | 366624 | Normal Item | 2000 | 24000 | Normal Item | 7300 | 87600 | Normal Item | 7328 | 87936
2 | 1 No Goods lift of capacity 2 T MRL lift, 0.5 MPS, G+2 (Research Complex)
2.1 | AMC rate for 1st Year | 12 | Lift / Month | Normal Item | 26019 | 312228 | Normal Item | 14750 | 177000 | Normal Item | 1500 | 18000 | Normal Item | 19500 | 234000 | Normal Item | 7335 | 88020
2.2 | AMC rate for 2nd Year | 12 | Lift / Month | Normal Item | 27258 | 327096 | Normal Item | 18623 | 223476 | Normal Item | 1600 | 19200 | Normal Item | 20500 | 246000 | Normal Item | 7700 | 92400
2.3 | AMC rate for 3rd Year | 12 | Lift / Month | Normal Item | 28497 | 341964 | Normal Item | 23514 | 282168 | Normal Item | 1700 | 20400 | Normal Item | 21500 | 258000 | Normal Item | 8085 | 97020
2.4 | AMC rate for 4th Year | 12 | Lift / Month | Normal Item | 29736 | 356832 | Normal Item | 29966 | 359592 | Normal Item | 1800 | 21600 | Normal Item | 22575 | 270900 | Normal Item | 8490 | 101880
2.5 | AMC rate for 5th Year | 12 | Lift / Month | Normal Item | 30975 | 371700 | Normal Item | 37835 | 454020 | Normal Item | 2000 | 24000 | Normal Item | 23700 | 284400 | Normal Item | 8913 | 106956
TOTAL(B) | [5 empty] | 2453220 |  |  | 2714592 |  |  | 206400 |  |  | 1691280 |  |  | 885348
| Grand Total |  |  |  |  | 399506570 |  |  | 294389722 |  |  | 308366400 |  |  | 336091780 |  |  | 295700000
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
| Contractor |  | Executive Engineer (C) |  | Executive Engineer (E) |  |  | Executive Engineer (E) |  |  | Executive Engineer (E) |  |  | Executive Engineer (E) |  |  | Executive Engineer (E)