## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23
Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | Bharti Refrigeration Works
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
FURNITURE
1 | TILTING RICE BOILER (GAS) Capacity:150 LTR Size: 46” X 34” X 39” Rice Boiling Pan Gas Type SS 304 Bottom 10 Gauge Inner Tank 12 Gauge Outer Tank 19 Gauge Lid 16 Gauge Pipe Frame 2” X2” 16 Gauge LPG Gas operated G 10 Burner 1 Pilot Burner Bottom Front Insulation | 1 | NOS | Normal Item | 112100 | 112100
2 | TILTING BRAT PAN Capacity: 120 LTR Body: 14 SWG Stainless Steel 304 Grade. LPG Gas Operated | 1 | NOS | Normal Item | 105020 | 105020
3 | STOCK POT Dimension :30" x 30" x 20" TOP: 16 SWG Stainless Steel Sheet with MS angle Support Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (1) One Nos M-10 Heavy Duty Burner LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (1) One Nos Square Cast Iron Indian Pan Support | 4 | NOS | Normal Item | 17700 | 70800
4 | WORK TABLE 2U/S Dimension: 60"X24"X34" TOP: 16 SWG Stainless Steel with 6 inches Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS:(4) Four Nos 16SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 5 | NOS | Normal Item | 28320 | 141600
5 | CHAPATI PLATE WITH PUFFER Dimension: 48" x 24" x 34" 16 mm MS Plate with Cast Iron Puffer Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center culling, NC valve, and copper pipe with pilot lamp Shelves: (1) One No's 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 38940 | 38940
6 | DOSA PLATE Dimension: 48" x 24" x 34" Top - 16 mm MS Plate Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center coupling, NC valve, and copper pipe with pilot lamp Shelves: (1) One Nos 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 41300 | 41300
7 | SIDE TABLE Dimension: 24"x24"x34"+6" TOP: 16 SWG Stainless Steel with 6 inch Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 10620 | 21240
8 | THREE BURNER INDIAN RANGE Dimension:60"x24"x34"+6" TOP: 16 SWG Stainless Steel Sheet Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (3) Two Nos T-35 Heavy Duty Burner Shelves: (1) One Nos 18 SWG Stainless Steel Sheet LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (3) Three Nos Square Cast Iron Traditional Pan Support . | 1 | NOS | Normal Item | 34220 | 34220
9 | SINGLE SINK Dimension: 24"X24"X34"+6" TOP: 16 SWG Stainless Steel 25MM Deep with 150MM Back slash With Full Sink Size With Stainless Steel Sink Waste Coupling 40mm Dia Body: Front apron 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 1 | NOS | Normal Item | 15930 | 15930
10 | MASALA TROLLEY Dimension24”X30”X34” TOP: 16 SWG Stainless Steel Sheet SHELVES: (1) Nos Under 18 Stainless Steel Sheet,) Body: Masala Container (9) Nos container Legs: Nos 18 SWG Stainless Steel pipe Wheels: (4) Four Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 18880 | 37760
11 | POT RACK Dimension: 60"X30"X66" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Shelves: (3) Nos Three Shelves 16 SWG Stainless Steel Square Pipe Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 34220 | 68440
12 | SINK WITH WORK TABLE Dimension: 60" X 24" X 34" + 6" TOP: 16 SWG Stainless Steel 150MM back slash with sink 250MM deep with Stainless Steel Sink Waste Coupling 40mm Dia Shelves: (1) One Nos Bottom shelf 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 29500 | 59000
13 | VEGATABLE RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000
14 | PULVERIZER 2HP CAP 2 HP.HEAVY DUTY PULVERISER SUITABLE FOR CRUSHING AND PULPING FROM VEGETABLE /ONION /ONION/TOMATO/GARLIC ETC. 2 HP MOTOR WITH 16 SWG STAINLESS STEEL SHEET | 1 | NOS | Normal Item | 25960 | 25960
15 | WET GRINDER CAPACITY : 10 LTRS. SINGLE: PH. ELECTRICAL : 0.75 HP,230 V, 50HZ. (One Year Warranty only Motor ) | 1 | NOS | Normal Item | 39530 | 39530
16 | POTATO PEELER CAPACITY-20KG 1 HP. 1 PHASE,230 V. SS BODY. | 1 | NOS | Normal Item | 46020 | 46020
17 | DOUGH KNEADER-DN 25(COSMOS) Capacity / Batch:20kg Dough ELECTRICAL:2HP / 440V / 3Ph / 50Hz Duration / Batch:15 minutes Dimension: 690 x 1400 x 1120mm NET WEIGHT: 180kg | 1 | NOS | Normal Item | 80830 | 80830
18 | VEGETABLE CUTTING MACHINE CAPACITY:150 KG /Hr WITH 5 NOS OF CUTTING DISC | 1 | NOS | Normal Item | 49560 | 49560
19 | DISH RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000
20 | THREE SINK UNIT Dimension: 60"x30"x34"+6" TOP: 18 SWG Stainless Steel 25 MM Deep with 150 MM Back slash With (3) Three Nos Full Sink 250 mm deep With Stainless Steel 40 mm Dia Sink Waste Coupling Body: Front apron 18 SWG Stainless Steel . LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 41300 | 82600
21 | SOILED DISH LANDING TABLE Dimension: 60 " X 30" X 34" + 6" TOP: 16 SWG Stainless Steel 304 Grade with 1 inch Deep With Garbage Chute On LHS LEGS: (4) Four Nos 16 SWG Stainless Steel 304 Grade Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 20650 | 41300
23 | SS STORAGE RACK Dimension: 45" X 24" X 72" Shelves: (5) Five Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 27140 | 108560
24 | GUNNY BAG PALLET SS Dimension: 48"X24"x6" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 8850 | 35400
25 | POTATO & ONION BIN Fabricated from 24x24x36thk. Ms angle frame at bottom and all body 304 quality solid rod with heavy duty wheel. | 2 | NOS | Normal Item | 27140 | 54280
26 | FOUR DOOR CHILLER Dimension: 54"X30"X78" CAPACITY : 1100 LITERS. . SHELVES : 6 NO. TEMPERATURE : (2 DEG C ~+10 DEG C). DOOR TYPE : 4 SOLID DOOR. CLIMATE TYPE : ST. REFRIGERANT R-134A./R-290 Wheels (4) Nos compressor: Embrace/Deafness | 2 | NOS | Normal Item | 135700 | 271400
27 | DOUBLE DOOR HARD TOP FREEZER Dimension: 66"X 28" X 33". CAPACITY : 534 LTRS. INPUT POWER : 240. Baskets / Shelves Qty: 2 No. of Door/Type: 2 SOLID DOOR Temperature Range :8 °C ~ 25 °C Castors: Yes Lock: Yes. | 2 | NOS | Normal Item | 50740 | 101480
28 | HOT BAIN MARIE Dimension: 60 x 28 x 34 (Inches) Top: 16 SWG Stainless Steel 304 Grade Jindal Steel Sheet With GN Pan (1/1)- 4 Nos & GN Pan (1/2)- 4 Nos 6 Inch Deep With Lid Body: 18 SWG Stainless Steel 304 Grade Jindal Steel Sheet Water Tank with Water Outlet Valvewhich is 3 Side Cladding Shelves: (1) No Bottom Shelf 20 SWG Stainless Steel 304 Grade Jindal Steel Sheet Heater: (2) Nos Two Nos Heavy Duty 1.5Kw Heater element Leg (4) Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Nos Adjustable Square Nylon Bush Control Panel: (1) Nos Thermostat (temp: 30*C ~ 150*C and (1) Nos ON/OFF Switch, Indicator Led Electricals: 220v/50Hz/1Ph | 4 | NOS | Normal Item | 76700 | 306800
29 | WORK TABLE 1 U/S Dimension:60 "x27"x34"+6" TOP: 18 SWG Stainless Steel Grade with 6-inch Backslash Shelves: (1) One Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 20650 | 41300
30 | PLATE RACK TROLLEY Dimension: 36"X18"X66" Stainless Steel 304 Grade Square Pipe Farem with Rod Suppot WIith Castor Wheels | 2 | NOS | Normal Item | 41300 | 82600
31 | 8 SEATER SS DINING TABLE WITH FIX BENCH Dimension: 90"X 30"X 30" TOP: 18 SWG Stainless Steel 304 grade STOOL: 20 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 63 | NOS | Normal Item | 53100 | 3345300
32 | SS WATER DISPENSER Dimension: 36 x 24 x 54 Capacity: 200 Ltrs Body: 20 SWG Stainless Steel Sheet Outer Body with Top Door with Lock with Inner Tank 18 SWG Stainless Steel 304 Grade Sheet and with PUF Insulation 50MM. Faucet: 2 Nos Nose type Faucet Legs: 4 Nos 18 SWG Stainless Steel Square Pipe with Heavy Duty Nylon Bush | 2 | NOS | Normal Item | 55460 | 110920
33 | WEIGHING SCALE CAPACITY:300KG Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 20060 | 20060
34 | WEIGHING SCALE Capacity: 100Kg Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 14160 | 14160
35 | FLY INSECT CATCHER UV light system. stranded. | 10 | NOS | Normal Item | 6490 | 64900
36 | PLATFORM TROLLEY Dimension: 30" x 42" x 36" TOP: 18 SWG Stainless Steel 304 Grade Sheet with MS Angle Support Handle: 18 SWG Stainles Steel Square Pipe Frame Wheels: 4 Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 17700 | 35400
37 | GN PAN TROLLEY Dimension: 18" x 24" x 36" 18 SWG Stainless Steel Square Pipe Leg with Stainless Steel pipe support for GN Pan | 4 | NOS | Normal Item | 20060 | 80240
38 | SS EXHAUST HOOD WITH SS FILTER (R.FT) Dimension: R.Ft X 30" X 20" Body: 20 SWG Stainless Steel Sheet Central Cantilever Type Hoods Including 22 SWG Stainless Steel Sheet Baffle Washable Grease Filter with oil Collection Box. | 42 | R.ft | Normal Item | 6490 | 272580
39 | EXHAUST FAN (18 SIZE:18". STATER : 0.65 AMP. 2290 CFM NET WEIGHT: 5.5 KG APPROX. SPEED: 900 RPM. VOLT: 230 VOLT. PHASE: SINGLE. WITH INSTALLATION WITH FITTING | 10 | NOS | Normal Item | 2950 | 29500
40 | GI DUCT LINE (GI) GI 22 Gauge JSW Sheet Fabricated With all Fitting with Gasket As Per Actual Square Feet as per Site Work Approx: 2500 sqft | 2500 | Sq.ft | Normal Item | 194.7 | 486750
41 | FRESH AIR JALI SIZE : 15"x 6" Material: - GI body with powder-coated. | 10 | NOS | Normal Item | 2950 | 29500
42 | AXIAL FAN (24") Type: Axial Fan Motor Power: 2 HP Size: 24 Inch Phase : 1 Ph / 3 Phase Pole: 4 Rpm: 900 WITH FITTING AND INSTALLATION | 1 | NOS | Normal Item | 31860 | 31860
43 | GAS PIPE LINE Approx.: 250-300 R.ft The pipe shall be of MS pipe of TATA pipe 1" & ½ dia with gas pipe line should be complete properly with MS clamp, T ,ELBOW & N/C valve fitting on the wall. As Per Actual Running Feet as per Site Work | 300 | R.ft | Normal Item | 708 | 212400
44 | LPG Gas Leakage Detector FEATURES Provides a fast & reliable response by using Catalytic / Pellistor / Semiconductor technology for detecting a leak of LPG. Optimized for detection of smallest Gas leaks with Integrated Buzzer and Flasher. Highly resistant to poisoning & etching. Isolated RS-485 communication port with MODBUS RTU protocol.Non-intrusive programming with Magnetic Wand in FLAMEPROOF MODEL. Programming with Front Keys in WEATHERPROOF MODEL. Password-protected programming menu. Optional 2 numbers Alarm Relay Contacts configuration for Alarm 1 / Alarm 2/ Fault. APPROVAL & COMPLIANCE ? Approval & compliance for flameproof: Certified to Ex d IP65 For Gas Group IIA, IIB ? Standard compliance : IS/IEC 60079-0: 2011 IS/IEC 60079-1: 2007 IS/IEC 60529: 2001 | 2 | NOS | Normal Item | 76700 | 153400
45 | MANI FOLD 6 point cylinder, gas meter, 1 stage regulator cupper pipe complete work. | 2 | NOS | Normal Item | 29936.6 | 59873
46 | The period of comprehensive Annual Manitenance contract would be two years. The firm shall be responsible for maintenance of kitchen items and keep them in working order by placing the services of experienced person throughout the AMC period. Maintenance of kitchen items shall be carried out during office hours. The kitchen item shall be maintained at the satisfaction of the user. The payment shall be released on 6 months regular interval basis during the AMC puriod subject to satisfactory services. | 4 | per 6 months | Normal Item | 118000 | 472000
FURNITURE SUB TOTAL: | [5 empty] | 7650813
| Grand Total |  |  |  |  | 7650813
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer-I
Contractor

## Sheet1
Central Public Works Department
DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23
Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | J B EQUIPMENTS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
FURNITURE
1 | TILTING RICE BOILER (GAS) Capacity:150 LTR Size: 46” X 34” X 39” Rice Boiling Pan Gas Type SS 304 Bottom 10 Gauge Inner Tank 12 Gauge Outer Tank 19 Gauge Lid 16 Gauge Pipe Frame 2” X2” 16 Gauge LPG Gas operated G 10 Burner 1 Pilot Burner Bottom Front Insulation | 1 | NOS | Normal Item | 112100 | 112100
2 | TILTING BRAT PAN Capacity: 120 LTR Body: 14 SWG Stainless Steel 304 Grade. LPG Gas Operated | 1 | NOS | Normal Item | 118000 | 118000
3 | STOCK POT Dimension :30" x 30" x 20" TOP: 16 SWG Stainless Steel Sheet with MS angle Support Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (1) One Nos M-10 Heavy Duty Burner LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (1) One Nos Square Cast Iron Indian Pan Support | 4 | NOS | Normal Item | 18880 | 75520
4 | WORK TABLE 2U/S Dimension: 60"X24"X34" TOP: 16 SWG Stainless Steel with 6 inches Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS:(4) Four Nos 16SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 5 | NOS | Normal Item | 29500 | 147500
5 | CHAPATI PLATE WITH PUFFER Dimension: 48" x 24" x 34" 16 mm MS Plate with Cast Iron Puffer Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center culling, NC valve, and copper pipe with pilot lamp Shelves: (1) One No's 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 42480 | 42480
6 | DOSA PLATE Dimension: 48" x 24" x 34" Top - 16 mm MS Plate Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center coupling, NC valve, and copper pipe with pilot lamp Shelves: (1) One Nos 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 42480 | 42480
7 | SIDE TABLE Dimension: 24"x24"x34"+6" TOP: 16 SWG Stainless Steel with 6 inch Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 11800 | 23600
8 | THREE BURNER INDIAN RANGE Dimension:60"x24"x34"+6" TOP: 16 SWG Stainless Steel Sheet Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (3) Two Nos T-35 Heavy Duty Burner Shelves: (1) One Nos 18 SWG Stainless Steel Sheet LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (3) Three Nos Square Cast Iron Traditional Pan Support . | 1 | NOS | Normal Item | 34220 | 34220
9 | SINGLE SINK Dimension: 24"X24"X34"+6" TOP: 16 SWG Stainless Steel 25MM Deep with 150MM Back slash With Full Sink Size With Stainless Steel Sink Waste Coupling 40mm Dia Body: Front apron 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 1 | NOS | Normal Item | 14160 | 14160
10 | MASALA TROLLEY Dimension24”X30”X34” TOP: 16 SWG Stainless Steel Sheet SHELVES: (1) Nos Under 18 Stainless Steel Sheet,) Body: Masala Container (9) Nos container Legs: Nos 18 SWG Stainless Steel pipe Wheels: (4) Four Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 16520 | 33040
11 | POT RACK Dimension: 60"X30"X66" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Shelves: (3) Nos Three Shelves 16 SWG Stainless Steel Square Pipe Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 34220 | 68440
12 | SINK WITH WORK TABLE Dimension: 60" X 24" X 34" + 6" TOP: 16 SWG Stainless Steel 150MM back slash with sink 250MM deep with Stainless Steel Sink Waste Coupling 40mm Dia Shelves: (1) One Nos Bottom shelf 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 33040 | 66080
13 | VEGATABLE RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 38940 | 77880
14 | PULVERIZER 2HP CAP 2 HP.HEAVY DUTY PULVERISER SUITABLE FOR CRUSHING AND PULPING FROM VEGETABLE /ONION /ONION/TOMATO/GARLIC ETC. 2 HP MOTOR WITH 16 SWG STAINLESS STEEL SHEET | 1 | NOS | Normal Item | 24780 | 24780
15 | WET GRINDER CAPACITY : 10 LTRS. SINGLE: PH. ELECTRICAL : 0.75 HP,230 V, 50HZ. (One Year Warranty only Motor ) | 1 | NOS | Normal Item | 56640 | 56640
16 | POTATO PEELER CAPACITY-20KG 1 HP. 1 PHASE,230 V. SS BODY. | 1 | NOS | Normal Item | 56640 | 56640
17 | DOUGH KNEADER-DN 25(COSMOS) Capacity / Batch:20kg Dough ELECTRICAL:2HP / 440V / 3Ph / 50Hz Duration / Batch:15 minutes Dimension: 690 x 1400 x 1120mm NET WEIGHT: 180kg | 1 | NOS | Normal Item | 88500 | 88500
18 | VEGETABLE CUTTING MACHINE CAPACITY:150 KG /Hr WITH 5 NOS OF CUTTING DISC | 1 | NOS | Normal Item | 61360 | 61360
19 | DISH RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 36580 | 73160
20 | THREE SINK UNIT Dimension: 60"x30"x34"+6" TOP: 18 SWG Stainless Steel 25 MM Deep with 150 MM Back slash With (3) Three Nos Full Sink 250 mm deep With Stainless Steel 40 mm Dia Sink Waste Coupling Body: Front apron 18 SWG Stainless Steel . LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 36580 | 73160
21 | SOILED DISH LANDING TABLE Dimension: 60 " X 30" X 34" + 6" TOP: 16 SWG Stainless Steel 304 Grade with 1 inch Deep With Garbage Chute On LHS LEGS: (4) Four Nos 16 SWG Stainless Steel 304 Grade Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000
23 | SS STORAGE RACK Dimension: 45" X 24" X 72" Shelves: (5) Five Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 29500 | 118000
24 | GUNNY BAG PALLET SS Dimension: 48"X24"x6" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 16520 | 66080
25 | POTATO & ONION BIN Fabricated from 24x24x36thk. Ms angle frame at bottom and all body 304 quality solid rod with heavy duty wheel. | 2 | NOS | Normal Item | 21240 | 42480
26 | FOUR DOOR CHILLER Dimension: 54"X30"X78" CAPACITY : 1100 LITERS. . SHELVES : 6 NO. TEMPERATURE : (2 DEG C ~+10 DEG C). DOOR TYPE : 4 SOLID DOOR. CLIMATE TYPE : ST. REFRIGERANT R-134A./R-290 Wheels (4) Nos compressor: Embrace/Deafness | 2 | NOS | Normal Item | 106200 | 212400
27 | DOUBLE DOOR HARD TOP FREEZER Dimension: 66"X 28" X 33". CAPACITY : 534 LTRS. INPUT POWER : 240. Baskets / Shelves Qty: 2 No. of Door/Type: 2 SOLID DOOR Temperature Range :8 °C ~ 25 °C Castors: Yes Lock: Yes. | 2 | NOS | Normal Item | 44840 | 89680
28 | HOT BAIN MARIE Dimension: 60 x 28 x 34 (Inches) Top: 16 SWG Stainless Steel 304 Grade Jindal Steel Sheet With GN Pan (1/1)- 4 Nos & GN Pan (1/2)- 4 Nos 6 Inch Deep With Lid Body: 18 SWG Stainless Steel 304 Grade Jindal Steel Sheet Water Tank with Water Outlet Valvewhich is 3 Side Cladding Shelves: (1) No Bottom Shelf 20 SWG Stainless Steel 304 Grade Jindal Steel Sheet Heater: (2) Nos Two Nos Heavy Duty 1.5Kw Heater element Leg (4) Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Nos Adjustable Square Nylon Bush Control Panel: (1) Nos Thermostat (temp: 30*C ~ 150*C and (1) Nos ON/OFF Switch, Indicator Led Electricals: 220v/50Hz/1Ph | 4 | NOS | Normal Item | 59000 | 236000
29 | WORK TABLE 1 U/S Dimension:60 "x27"x34"+6" TOP: 18 SWG Stainless Steel Grade with 6-inch Backslash Shelves: (1) One Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000
30 | PLATE RACK TROLLEY Dimension: 36"X18"X66" Stainless Steel 304 Grade Square Pipe Farem with Rod Suppot WIith Castor Wheels | 2 | NOS | Normal Item | 28320 | 56640
31 | 8 SEATER SS DINING TABLE WITH FIX BENCH Dimension: 90"X 30"X 30" TOP: 18 SWG Stainless Steel 304 grade STOOL: 20 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 63 | NOS | Normal Item | 35400 | 2230200
32 | SS WATER DISPENSER Dimension: 36 x 24 x 54 Capacity: 200 Ltrs Body: 20 SWG Stainless Steel Sheet Outer Body with Top Door with Lock with Inner Tank 18 SWG Stainless Steel 304 Grade Sheet and with PUF Insulation 50MM. Faucet: 2 Nos Nose type Faucet Legs: 4 Nos 18 SWG Stainless Steel Square Pipe with Heavy Duty Nylon Bush | 2 | NOS | Normal Item | 53100 | 106200
33 | WEIGHING SCALE CAPACITY:300KG Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 12980 | 12980
34 | WEIGHING SCALE Capacity: 100Kg Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 12980 | 12980
35 | FLY INSECT CATCHER UV light system. stranded. | 10 | NOS | Normal Item | 8850 | 88500
36 | PLATFORM TROLLEY Dimension: 30" x 42" x 36" TOP: 18 SWG Stainless Steel 304 Grade Sheet with MS Angle Support Handle: 18 SWG Stainles Steel Square Pipe Frame Wheels: 4 Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 21240 | 42480
37 | GN PAN TROLLEY Dimension: 18" x 24" x 36" 18 SWG Stainless Steel Square Pipe Leg with Stainless Steel pipe support for GN Pan | 4 | NOS | Normal Item | 18880 | 75520
38 | SS EXHAUST HOOD WITH SS FILTER (R.FT) Dimension: R.Ft X 30" X 20" Body: 20 SWG Stainless Steel Sheet Central Cantilever Type Hoods Including 22 SWG Stainless Steel Sheet Baffle Washable Grease Filter with oil Collection Box. | 42 | R.ft | Normal Item | 6490 | 272580
39 | EXHAUST FAN (18 SIZE:18". STATER : 0.65 AMP. 2290 CFM NET WEIGHT: 5.5 KG APPROX. SPEED: 900 RPM. VOLT: 230 VOLT. PHASE: SINGLE. WITH INSTALLATION WITH FITTING | 10 | NOS | Normal Item | 8850 | 88500
40 | GI DUCT LINE (GI) GI 22 Gauge JSW Sheet Fabricated With all Fitting with Gasket As Per Actual Square Feet as per Site Work Approx: 2500 sqft | 2500 | Sq.ft | Normal Item | 165 | 412500
41 | FRESH AIR JALI SIZE : 15"x 6" Material: - GI body with powder-coated. | 10 | NOS | Normal Item | 2124 | 21240
42 | AXIAL FAN (24") Type: Axial Fan Motor Power: 2 HP Size: 24 Inch Phase : 1 Ph / 3 Phase Pole: 4 Rpm: 900 WITH FITTING AND INSTALLATION | 1 | NOS | Normal Item | 33040 | 33040
43 | GAS PIPE LINE Approx.: 250-300 R.ft The pipe shall be of MS pipe of TATA pipe 1" & ½ dia with gas pipe line should be complete properly with MS clamp, T ,ELBOW & N/C valve fitting on the wall. As Per Actual Running Feet as per Site Work | 300 | R.ft | Normal Item | 826 | 247800
44 | LPG Gas Leakage Detector FEATURES Provides a fast & reliable response by using Catalytic / Pellistor / Semiconductor technology for detecting a leak of LPG. Optimized for detection of smallest Gas leaks with Integrated Buzzer and Flasher. Highly resistant to poisoning & etching. Isolated RS-485 communication port with MODBUS RTU protocol.Non-intrusive programming with Magnetic Wand in FLAMEPROOF MODEL. Programming with Front Keys in WEATHERPROOF MODEL. Password-protected programming menu. Optional 2 numbers Alarm Relay Contacts configuration for Alarm 1 / Alarm 2/ Fault. APPROVAL & COMPLIANCE ? Approval & compliance for flameproof: Certified to Ex d IP65 For Gas Group IIA, IIB ? Standard compliance : IS/IEC 60079-0: 2011 IS/IEC 60079-1: 2007 IS/IEC 60529: 2001 | 2 | NOS | Normal Item | 165200 | 330400
45 | MANI FOLD 6 point cylinder, gas meter, 1 stage regulator cupper pipe complete work. | 2 | NOS | Normal Item | 47200 | 94400
46 | The period of comprehensive Annual Manitenance contract would be two years. The firm shall be responsible for maintenance of kitchen items and keep them in working order by placing the services of experienced person throughout the AMC period. Maintenance of kitchen items shall be carried out during office hours. The kitchen item shall be maintained at the satisfaction of the user. The payment shall be released on 6 months regular interval basis during the AMC puriod subject to satisfactory services. | 4 | per 6 months | Normal Item | 157458 | 629832
FURNITURE SUB TOTAL: | [5 empty] | 6928172
| Grand Total |  |  |  |  | 6928172
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer-I
Contractor

## Sheet2
Central Public Works Department
DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23
Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | MUSKAN EQUIPMENTS CO.
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
FURNITURE
1 | TILTING RICE BOILER (GAS) Capacity:150 LTR Size: 46” X 34” X 39” Rice Boiling Pan Gas Type SS 304 Bottom 10 Gauge Inner Tank 12 Gauge Outer Tank 19 Gauge Lid 16 Gauge Pipe Frame 2” X2” 16 Gauge LPG Gas operated G 10 Burner 1 Pilot Burner Bottom Front Insulation | 1 | NOS | Normal Item | 112100 | 112100
2 | TILTING BRAT PAN Capacity: 120 LTR Body: 14 SWG Stainless Steel 304 Grade. LPG Gas Operated | 1 | NOS | Normal Item | 94400 | 94400
3 | STOCK POT Dimension :30" x 30" x 20" TOP: 16 SWG Stainless Steel Sheet with MS angle Support Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (1) One Nos M-10 Heavy Duty Burner LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (1) One Nos Square Cast Iron Indian Pan Support | 4 | NOS | Normal Item | 18880 | 75520
4 | WORK TABLE 2U/S Dimension: 60"X24"X34" TOP: 16 SWG Stainless Steel with 6 inches Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS:(4) Four Nos 16SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 5 | NOS | Normal Item | 23600 | 118000
5 | CHAPATI PLATE WITH PUFFER Dimension: 48" x 24" x 34" 16 mm MS Plate with Cast Iron Puffer Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center culling, NC valve, and copper pipe with pilot lamp Shelves: (1) One No's 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 23600 | 23600
6 | DOSA PLATE Dimension: 48" x 24" x 34" Top - 16 mm MS Plate Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center coupling, NC valve, and copper pipe with pilot lamp Shelves: (1) One Nos 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 23600 | 23600
7 | SIDE TABLE Dimension: 24"x24"x34"+6" TOP: 16 SWG Stainless Steel with 6 inch Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 9440 | 18880
8 | THREE BURNER INDIAN RANGE Dimension:60"x24"x34"+6" TOP: 16 SWG Stainless Steel Sheet Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (3) Two Nos T-35 Heavy Duty Burner Shelves: (1) One Nos 18 SWG Stainless Steel Sheet LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (3) Three Nos Square Cast Iron Traditional Pan Support . | 1 | NOS | Normal Item | 29500 | 29500
9 | SINGLE SINK Dimension: 24"X24"X34"+6" TOP: 16 SWG Stainless Steel 25MM Deep with 150MM Back slash With Full Sink Size With Stainless Steel Sink Waste Coupling 40mm Dia Body: Front apron 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 1 | NOS | Normal Item | 16520 | 16520
10 | MASALA TROLLEY Dimension24”X30”X34” TOP: 16 SWG Stainless Steel Sheet SHELVES: (1) Nos Under 18 Stainless Steel Sheet,) Body: Masala Container (9) Nos container Legs: Nos 18 SWG Stainless Steel pipe Wheels: (4) Four Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 14160 | 28320
11 | POT RACK Dimension: 60"X30"X66" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Shelves: (3) Nos Three Shelves 16 SWG Stainless Steel Square Pipe Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 35400 | 70800
12 | SINK WITH WORK TABLE Dimension: 60" X 24" X 34" + 6" TOP: 16 SWG Stainless Steel 150MM back slash with sink 250MM deep with Stainless Steel Sink Waste Coupling 40mm Dia Shelves: (1) One Nos Bottom shelf 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 23600 | 47200
13 | VEGATABLE RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 28320 | 56640
14 | PULVERIZER 2HP CAP 2 HP.HEAVY DUTY PULVERISER SUITABLE FOR CRUSHING AND PULPING FROM VEGETABLE /ONION /ONION/TOMATO/GARLIC ETC. 2 HP MOTOR WITH 16 SWG STAINLESS STEEL SHEET | 1 | NOS | Normal Item | 21240 | 21240
15 | WET GRINDER CAPACITY : 10 LTRS. SINGLE: PH. ELECTRICAL : 0.75 HP,230 V, 50HZ. (One Year Warranty only Motor ) | 1 | NOS | Normal Item | 35400 | 35400
16 | POTATO PEELER CAPACITY-20KG 1 HP. 1 PHASE,230 V. SS BODY. | 1 | NOS | Normal Item | 47200 | 47200
17 | DOUGH KNEADER-DN 25(COSMOS) Capacity / Batch:20kg Dough ELECTRICAL:2HP / 440V / 3Ph / 50Hz Duration / Batch:15 minutes Dimension: 690 x 1400 x 1120mm NET WEIGHT: 180kg | 1 | NOS | Normal Item | 56640 | 56640
18 | VEGETABLE CUTTING MACHINE CAPACITY:150 KG /Hr WITH 5 NOS OF CUTTING DISC | 1 | NOS | Normal Item | 29500 | 29500
19 | DISH RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 28320 | 56640
20 | THREE SINK UNIT Dimension: 60"x30"x34"+6" TOP: 18 SWG Stainless Steel 25 MM Deep with 150 MM Back slash With (3) Three Nos Full Sink 250 mm deep With Stainless Steel 40 mm Dia Sink Waste Coupling Body: Front apron 18 SWG Stainless Steel . LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 41300 | 82600
21 | SOILED DISH LANDING TABLE Dimension: 60 " X 30" X 34" + 6" TOP: 16 SWG Stainless Steel 304 Grade with 1 inch Deep With Garbage Chute On LHS LEGS: (4) Four Nos 16 SWG Stainless Steel 304 Grade Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 22125 | 44250
23 | SS STORAGE RACK Dimension: 45" X 24" X 72" Shelves: (5) Five Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 22420 | 89680
24 | GUNNY BAG PALLET SS Dimension: 48"X24"x6" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 9440 | 37760
25 | POTATO & ONION BIN Fabricated from 24x24x36thk. Ms angle frame at bottom and all body 304 quality solid rod with heavy duty wheel. | 2 | NOS | Normal Item | 16520 | 33040
26 | FOUR DOOR CHILLER Dimension: 54"X30"X78" CAPACITY : 1100 LITERS. . SHELVES : 6 NO. TEMPERATURE : (2 DEG C ~+10 DEG C). DOOR TYPE : 4 SOLID DOOR. CLIMATE TYPE : ST. REFRIGERANT R-134A./R-290 Wheels (4) Nos compressor: Embrace/Deafness | 2 | NOS | Normal Item | 147500 | 295000
27 | DOUBLE DOOR HARD TOP FREEZER Dimension: 66"X 28" X 33". CAPACITY : 534 LTRS. INPUT POWER : 240. Baskets / Shelves Qty: 2 No. of Door/Type: 2 SOLID DOOR Temperature Range :8 °C ~ 25 °C Castors: Yes Lock: Yes. | 2 | NOS | Normal Item | 53100 | 106200
28 | HOT BAIN MARIE Dimension: 60 x 28 x 34 (Inches) Top: 16 SWG Stainless Steel 304 Grade Jindal Steel Sheet With GN Pan (1/1)- 4 Nos & GN Pan (1/2)- 4 Nos 6 Inch Deep With Lid Body: 18 SWG Stainless Steel 304 Grade Jindal Steel Sheet Water Tank with Water Outlet Valvewhich is 3 Side Cladding Shelves: (1) No Bottom Shelf 20 SWG Stainless Steel 304 Grade Jindal Steel Sheet Heater: (2) Nos Two Nos Heavy Duty 1.5Kw Heater element Leg (4) Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Nos Adjustable Square Nylon Bush Control Panel: (1) Nos Thermostat (temp: 30*C ~ 150*C and (1) Nos ON/OFF Switch, Indicator Led Electricals: 220v/50Hz/1Ph | 4 | NOS | Normal Item | 59000 | 236000
29 | WORK TABLE 1 U/S Dimension:60 "x27"x34"+6" TOP: 18 SWG Stainless Steel Grade with 6-inch Backslash Shelves: (1) One Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 20060 | 40120
30 | PLATE RACK TROLLEY Dimension: 36"X18"X66" Stainless Steel 304 Grade Square Pipe Farem with Rod Suppot WIith Castor Wheels | 2 | NOS | Normal Item | 15340 | 30680
31 | 8 SEATER SS DINING TABLE WITH FIX BENCH Dimension: 90"X 30"X 30" TOP: 18 SWG Stainless Steel 304 grade STOOL: 20 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 63 | NOS | Normal Item | 41300 | 2601900
32 | SS WATER DISPENSER Dimension: 36 x 24 x 54 Capacity: 200 Ltrs Body: 20 SWG Stainless Steel Sheet Outer Body with Top Door with Lock with Inner Tank 18 SWG Stainless Steel 304 Grade Sheet and with PUF Insulation 50MM. Faucet: 2 Nos Nose type Faucet Legs: 4 Nos 18 SWG Stainless Steel Square Pipe with Heavy Duty Nylon Bush | 2 | NOS | Normal Item | 53100 | 106200
33 | WEIGHING SCALE CAPACITY:300KG Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 16520 | 16520
34 | WEIGHING SCALE Capacity: 100Kg Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 14160 | 14160
35 | FLY INSECT CATCHER UV light system. stranded. | 10 | NOS | Normal Item | 3540 | 35400
36 | PLATFORM TROLLEY Dimension: 30" x 42" x 36" TOP: 18 SWG Stainless Steel 304 Grade Sheet with MS Angle Support Handle: 18 SWG Stainles Steel Square Pipe Frame Wheels: 4 Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 16520 | 33040
37 | GN PAN TROLLEY Dimension: 18" x 24" x 36" 18 SWG Stainless Steel Square Pipe Leg with Stainless Steel pipe support for GN Pan | 4 | NOS | Normal Item | 21240 | 84960
38 | SS EXHAUST HOOD WITH SS FILTER (R.FT) Dimension: R.Ft X 30" X 20" Body: 20 SWG Stainless Steel Sheet Central Cantilever Type Hoods Including 22 SWG Stainless Steel Sheet Baffle Washable Grease Filter with oil Collection Box. | 42 | R.ft | Normal Item | 5900 | 247800
39 | EXHAUST FAN (18 SIZE:18". STATER : 0.65 AMP. 2290 CFM NET WEIGHT: 5.5 KG APPROX. SPEED: 900 RPM. VOLT: 230 VOLT. PHASE: SINGLE. WITH INSTALLATION WITH FITTING | 10 | NOS | Normal Item | 4130 | 41300
40 | GI DUCT LINE (GI) GI 22 Gauge JSW Sheet Fabricated With all Fitting with Gasket As Per Actual Square Feet as per Site Work Approx: 2500 sqft | 2500 | Sq.ft | Normal Item | 177 | 442500
41 | FRESH AIR JALI SIZE : 15"x 6" Material: - GI body with powder-coated. | 10 | NOS | Normal Item | 2360 | 23600
42 | AXIAL FAN (24") Type: Axial Fan Motor Power: 2 HP Size: 24 Inch Phase : 1 Ph / 3 Phase Pole: 4 Rpm: 900 WITH FITTING AND INSTALLATION | 1 | NOS | Normal Item | 28320 | 28320
43 | GAS PIPE LINE Approx.: 250-300 R.ft The pipe shall be of MS pipe of TATA pipe 1" & ½ dia with gas pipe line should be complete properly with MS clamp, T ,ELBOW & N/C valve fitting on the wall. As Per Actual Running Feet as per Site Work | 300 | R.ft | Normal Item | 472 | 141600
44 | LPG Gas Leakage Detector FEATURES Provides a fast & reliable response by using Catalytic / Pellistor / Semiconductor technology for detecting a leak of LPG. Optimized for detection of smallest Gas leaks with Integrated Buzzer and Flasher. Highly resistant to poisoning & etching. Isolated RS-485 communication port with MODBUS RTU protocol.Non-intrusive programming with Magnetic Wand in FLAMEPROOF MODEL. Programming with Front Keys in WEATHERPROOF MODEL. Password-protected programming menu. Optional 2 numbers Alarm Relay Contacts configuration for Alarm 1 / Alarm 2/ Fault. APPROVAL & COMPLIANCE ? Approval & compliance for flameproof: Certified to Ex d IP65 For Gas Group IIA, IIB ? Standard compliance : IS/IEC 60079-0: 2011 IS/IEC 60079-1: 2007 IS/IEC 60529: 2001 | 2 | NOS | Normal Item | 59000 | 118000
45 | MANI FOLD 6 point cylinder, gas meter, 1 stage regulator cupper pipe complete work. | 2 | NOS | Normal Item | 5310 | 10620
46 | The period of comprehensive Annual Manitenance contract would be two years. The firm shall be responsible for maintenance of kitchen items and keep them in working order by placing the services of experienced person throughout the AMC period. Maintenance of kitchen items shall be carried out during office hours. The kitchen item shall be maintained at the satisfaction of the user. The payment shall be released on 6 months regular interval basis during the AMC puriod subject to satisfactory services. | 4 | per 6 months | Normal Item | 59000 | 236000
FURNITURE SUB TOTAL: | [5 empty] | 6138950
| Grand Total |  |  |  |  | 6138950
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer-I
Contractor

## combined
Central Public Works Department
DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23 | DRAFT NIT/RFP No.: 77/NIT/EE-I/CPWD/BBSR/2022-23
Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha | Name of Work: Setting up centralized kitchen with modular cooking system with LPG Pipeline connection in the IIC at Khurda, Odisha
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | Bharti Refrigeration Works |  |  | J B EQUIPMENTS |  |  | MUSKAN EQUIPMENTS CO.
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
FURNITURE
1 | TILTING RICE BOILER (GAS) Capacity:150 LTR Size: 46” X 34” X 39” Rice Boiling Pan Gas Type SS 304 Bottom 10 Gauge Inner Tank 12 Gauge Outer Tank 19 Gauge Lid 16 Gauge Pipe Frame 2” X2” 16 Gauge LPG Gas operated G 10 Burner 1 Pilot Burner Bottom Front Insulation | 1 | NOS | Normal Item | 112100 | 112100 | Normal Item | 112100 | 112100 | Normal Item | 112100 | 112100
2 | TILTING BRAT PAN Capacity: 120 LTR Body: 14 SWG Stainless Steel 304 Grade. LPG Gas Operated | 1 | NOS | Normal Item | 105020 | 105020 | Normal Item | 118000 | 118000 | Normal Item | 94400 | 94400
3 | STOCK POT Dimension :30" x 30" x 20" TOP: 16 SWG Stainless Steel Sheet with MS angle Support Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (1) One Nos M-10 Heavy Duty Burner LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (1) One Nos Square Cast Iron Indian Pan Support | 4 | NOS | Normal Item | 17700 | 70800 | Normal Item | 18880 | 75520 | Normal Item | 18880 | 75520
4 | WORK TABLE 2U/S Dimension: 60"X24"X34" TOP: 16 SWG Stainless Steel with 6 inches Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS:(4) Four Nos 16SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 5 | NOS | Normal Item | 28320 | 141600 | Normal Item | 29500 | 147500 | Normal Item | 23600 | 118000
5 | CHAPATI PLATE WITH PUFFER Dimension: 48" x 24" x 34" 16 mm MS Plate with Cast Iron Puffer Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center culling, NC valve, and copper pipe with pilot lamp Shelves: (1) One No's 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 38940 | 38940 | Normal Item | 42480 | 42480 | Normal Item | 23600 | 23600
6 | DOSA PLATE Dimension: 48" x 24" x 34" Top - 16 mm MS Plate Body: 16 SWG Stainless Steel Sheet Cladding with MS angle Frame Burner: 24 RV burner with center coupling, NC valve, and copper pipe with pilot lamp Shelves: (1) One Nos 18 SWG Stainless Steel Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 1 | NOS | Normal Item | 41300 | 41300 | Normal Item | 42480 | 42480 | Normal Item | 23600 | 23600
7 | SIDE TABLE Dimension: 24"x24"x34"+6" TOP: 16 SWG Stainless Steel with 6 inch Backslash Shelves: (2) Two Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 10620 | 21240 | Normal Item | 11800 | 23600 | Normal Item | 9440 | 18880
8 | THREE BURNER INDIAN RANGE Dimension:60"x24"x34"+6" TOP: 16 SWG Stainless Steel Sheet Body: 18 SWG Stainless Steel Sheet Cladding with MS angle Support with Dip Trays and Pilot lamp Burners: (3) Two Nos T-35 Heavy Duty Burner Shelves: (1) One Nos 18 SWG Stainless Steel Sheet LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush Pan Support: (3) Three Nos Square Cast Iron Traditional Pan Support . | 1 | NOS | Normal Item | 34220 | 34220 | Normal Item | 34220 | 34220 | Normal Item | 29500 | 29500
9 | SINGLE SINK Dimension: 24"X24"X34"+6" TOP: 16 SWG Stainless Steel 25MM Deep with 150MM Back slash With Full Sink Size With Stainless Steel Sink Waste Coupling 40mm Dia Body: Front apron 18 SWG Stainless Steel LEGS: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 1 | NOS | Normal Item | 15930 | 15930 | Normal Item | 14160 | 14160 | Normal Item | 16520 | 16520
10 | MASALA TROLLEY Dimension24”X30”X34” TOP: 16 SWG Stainless Steel Sheet SHELVES: (1) Nos Under 18 Stainless Steel Sheet,) Body: Masala Container (9) Nos container Legs: Nos 18 SWG Stainless Steel pipe Wheels: (4) Four Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 18880 | 37760 | Normal Item | 16520 | 33040 | Normal Item | 14160 | 28320
11 | POT RACK Dimension: 60"X30"X66" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Shelves: (3) Nos Three Shelves 16 SWG Stainless Steel Square Pipe Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 34220 | 68440 | Normal Item | 34220 | 68440 | Normal Item | 35400 | 70800
12 | SINK WITH WORK TABLE Dimension: 60" X 24" X 34" + 6" TOP: 16 SWG Stainless Steel 150MM back slash with sink 250MM deep with Stainless Steel Sink Waste Coupling 40mm Dia Shelves: (1) One Nos Bottom shelf 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 29500 | 59000 | Normal Item | 33040 | 66080 | Normal Item | 23600 | 47200
13 | VEGATABLE RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000 | Normal Item | 38940 | 77880 | Normal Item | 28320 | 56640
14 | PULVERIZER 2HP CAP 2 HP.HEAVY DUTY PULVERISER SUITABLE FOR CRUSHING AND PULPING FROM VEGETABLE /ONION /ONION/TOMATO/GARLIC ETC. 2 HP MOTOR WITH 16 SWG STAINLESS STEEL SHEET | 1 | NOS | Normal Item | 25960 | 25960 | Normal Item | 24780 | 24780 | Normal Item | 21240 | 21240
15 | WET GRINDER CAPACITY : 10 LTRS. SINGLE: PH. ELECTRICAL : 0.75 HP,230 V, 50HZ. (One Year Warranty only Motor ) | 1 | NOS | Normal Item | 39530 | 39530 | Normal Item | 56640 | 56640 | Normal Item | 35400 | 35400
16 | POTATO PEELER CAPACITY-20KG 1 HP. 1 PHASE,230 V. SS BODY. | 1 | NOS | Normal Item | 46020 | 46020 | Normal Item | 56640 | 56640 | Normal Item | 47200 | 47200
17 | DOUGH KNEADER-DN 25(COSMOS) Capacity / Batch:20kg Dough ELECTRICAL:2HP / 440V / 3Ph / 50Hz Duration / Batch:15 minutes Dimension: 690 x 1400 x 1120mm NET WEIGHT: 180kg | 1 | NOS | Normal Item | 80830 | 80830 | Normal Item | 88500 | 88500 | Normal Item | 56640 | 56640
18 | VEGETABLE CUTTING MACHINE CAPACITY:150 KG /Hr WITH 5 NOS OF CUTTING DISC | 1 | NOS | Normal Item | 49560 | 49560 | Normal Item | 61360 | 61360 | Normal Item | 29500 | 29500
19 | DISH RACK Dimension: 60"x24"x72" Shelves: (4) Four Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 29500 | 59000 | Normal Item | 36580 | 73160 | Normal Item | 28320 | 56640
20 | THREE SINK UNIT Dimension: 60"x30"x34"+6" TOP: 18 SWG Stainless Steel 25 MM Deep with 150 MM Back slash With (3) Three Nos Full Sink 250 mm deep With Stainless Steel 40 mm Dia Sink Waste Coupling Body: Front apron 18 SWG Stainless Steel . LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: Adjustable Square Nylon Bush (4) Nos | 2 | NOS | Normal Item | 41300 | 82600 | Normal Item | 36580 | 73160 | Normal Item | 41300 | 82600
21 | SOILED DISH LANDING TABLE Dimension: 60 " X 30" X 34" + 6" TOP: 16 SWG Stainless Steel 304 Grade with 1 inch Deep With Garbage Chute On LHS LEGS: (4) Four Nos 16 SWG Stainless Steel 304 Grade Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 20650 | 41300 | Normal Item | 29500 | 59000 | Normal Item | 22125 | 44250
23 | SS STORAGE RACK Dimension: 45" X 24" X 72" Shelves: (5) Five Nos 18 SWG Stainless Steel With Water Drain Pocket LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 27140 | 108560 | Normal Item | 29500 | 118000 | Normal Item | 22420 | 89680
24 | GUNNY BAG PALLET SS Dimension: 48"X24"x6" Frame: 16 SWG Stainless Steel Square Pipe frame with Square Pipe Support Legs: (4) Four Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 4 | NOS | Normal Item | 8850 | 35400 | Normal Item | 16520 | 66080 | Normal Item | 9440 | 37760
25 | POTATO & ONION BIN Fabricated from 24x24x36thk. Ms angle frame at bottom and all body 304 quality solid rod with heavy duty wheel. | 2 | NOS | Normal Item | 27140 | 54280 | Normal Item | 21240 | 42480 | Normal Item | 16520 | 33040
26 | FOUR DOOR CHILLER Dimension: 54"X30"X78" CAPACITY : 1100 LITERS. . SHELVES : 6 NO. TEMPERATURE : (2 DEG C ~+10 DEG C). DOOR TYPE : 4 SOLID DOOR. CLIMATE TYPE : ST. REFRIGERANT R-134A./R-290 Wheels (4) Nos compressor: Embrace/Deafness | 2 | NOS | Normal Item | 135700 | 271400 | Normal Item | 106200 | 212400 | Normal Item | 147500 | 295000
27 | DOUBLE DOOR HARD TOP FREEZER Dimension: 66"X 28" X 33". CAPACITY : 534 LTRS. INPUT POWER : 240. Baskets / Shelves Qty: 2 No. of Door/Type: 2 SOLID DOOR Temperature Range :8 °C ~ 25 °C Castors: Yes Lock: Yes. | 2 | NOS | Normal Item | 50740 | 101480 | Normal Item | 44840 | 89680 | Normal Item | 53100 | 106200
28 | HOT BAIN MARIE Dimension: 60 x 28 x 34 (Inches) Top: 16 SWG Stainless Steel 304 Grade Jindal Steel Sheet With GN Pan (1/1)- 4 Nos & GN Pan (1/2)- 4 Nos 6 Inch Deep With Lid Body: 18 SWG Stainless Steel 304 Grade Jindal Steel Sheet Water Tank with Water Outlet Valvewhich is 3 Side Cladding Shelves: (1) No Bottom Shelf 20 SWG Stainless Steel 304 Grade Jindal Steel Sheet Heater: (2) Nos Two Nos Heavy Duty 1.5Kw Heater element Leg (4) Nos 16 SWG Stainless Steel Square Pipes Bush: (4) Nos Adjustable Square Nylon Bush Control Panel: (1) Nos Thermostat (temp: 30*C ~ 150*C and (1) Nos ON/OFF Switch, Indicator Led Electricals: 220v/50Hz/1Ph | 4 | NOS | Normal Item | 76700 | 306800 | Normal Item | 59000 | 236000 | Normal Item | 59000 | 236000
29 | WORK TABLE 1 U/S Dimension:60 "x27"x34"+6" TOP: 18 SWG Stainless Steel Grade with 6-inch Backslash Shelves: (1) One Nos 18 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 2 | NOS | Normal Item | 20650 | 41300 | Normal Item | 29500 | 59000 | Normal Item | 20060 | 40120
30 | PLATE RACK TROLLEY Dimension: 36"X18"X66" Stainless Steel 304 Grade Square Pipe Farem with Rod Suppot WIith Castor Wheels | 2 | NOS | Normal Item | 41300 | 82600 | Normal Item | 28320 | 56640 | Normal Item | 15340 | 30680
31 | 8 SEATER SS DINING TABLE WITH FIX BENCH Dimension: 90"X 30"X 30" TOP: 18 SWG Stainless Steel 304 grade STOOL: 20 SWG Stainless Steel LEGS: (4) Four Nos 18 SWG Stainless Steel Square Pipes Bush: (4) Four Nos Adjustable Square Nylon Bush | 63 | NOS | Normal Item | 53100 | 3345300 | Normal Item | 35400 | 2230200 | Normal Item | 41300 | 2601900
32 | SS WATER DISPENSER Dimension: 36 x 24 x 54 Capacity: 200 Ltrs Body: 20 SWG Stainless Steel Sheet Outer Body with Top Door with Lock with Inner Tank 18 SWG Stainless Steel 304 Grade Sheet and with PUF Insulation 50MM. Faucet: 2 Nos Nose type Faucet Legs: 4 Nos 18 SWG Stainless Steel Square Pipe with Heavy Duty Nylon Bush | 2 | NOS | Normal Item | 55460 | 110920 | Normal Item | 53100 | 106200 | Normal Item | 53100 | 106200
33 | WEIGHING SCALE CAPACITY:300KG Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 20060 | 20060 | Normal Item | 12980 | 12980 | Normal Item | 16520 | 16520
34 | WEIGHING SCALE Capacity: 100Kg Power Supply: 230 V AC / 50 Hz Most accurate weight measurements every time Electronic Weighing Machine Simple and elegant machine | 1 | NOS | Normal Item | 14160 | 14160 | Normal Item | 12980 | 12980 | Normal Item | 14160 | 14160
35 | FLY INSECT CATCHER UV light system. stranded. | 10 | NOS | Normal Item | 6490 | 64900 | Normal Item | 8850 | 88500 | Normal Item | 3540 | 35400
36 | PLATFORM TROLLEY Dimension: 30" x 42" x 36" TOP: 18 SWG Stainless Steel 304 Grade Sheet with MS Angle Support Handle: 18 SWG Stainles Steel Square Pipe Frame Wheels: 4 Nos Heavy Duty Wheels | 2 | NOS | Normal Item | 17700 | 35400 | Normal Item | 21240 | 42480 | Normal Item | 16520 | 33040
37 | GN PAN TROLLEY Dimension: 18" x 24" x 36" 18 SWG Stainless Steel Square Pipe Leg with Stainless Steel pipe support for GN Pan | 4 | NOS | Normal Item | 20060 | 80240 | Normal Item | 18880 | 75520 | Normal Item | 21240 | 84960
38 | SS EXHAUST HOOD WITH SS FILTER (R.FT) Dimension: R.Ft X 30" X 20" Body: 20 SWG Stainless Steel Sheet Central Cantilever Type Hoods Including 22 SWG Stainless Steel Sheet Baffle Washable Grease Filter with oil Collection Box. | 42 | R.ft | Normal Item | 6490 | 272580 | Normal Item | 6490 | 272580 | Normal Item | 5900 | 247800
39 | EXHAUST FAN (18 SIZE:18". STATER : 0.65 AMP. 2290 CFM NET WEIGHT: 5.5 KG APPROX. SPEED: 900 RPM. VOLT: 230 VOLT. PHASE: SINGLE. WITH INSTALLATION WITH FITTING | 10 | NOS | Normal Item | 2950 | 29500 | Normal Item | 8850 | 88500 | Normal Item | 4130 | 41300
40 | GI DUCT LINE (GI) GI 22 Gauge JSW Sheet Fabricated With all Fitting with Gasket As Per Actual Square Feet as per Site Work Approx: 2500 sqft | 2500 | Sq.ft | Normal Item | 194.7 | 486750 | Normal Item | 165 | 412500 | Normal Item | 177 | 442500
41 | FRESH AIR JALI SIZE : 15"x 6" Material: - GI body with powder-coated. | 10 | NOS | Normal Item | 2950 | 29500 | Normal Item | 2124 | 21240 | Normal Item | 2360 | 23600
42 | AXIAL FAN (24") Type: Axial Fan Motor Power: 2 HP Size: 24 Inch Phase : 1 Ph / 3 Phase Pole: 4 Rpm: 900 WITH FITTING AND INSTALLATION | 1 | NOS | Normal Item | 31860 | 31860 | Normal Item | 33040 | 33040 | Normal Item | 28320 | 28320
43 | GAS PIPE LINE Approx.: 250-300 R.ft The pipe shall be of MS pipe of TATA pipe 1" & ½ dia with gas pipe line should be complete properly with MS clamp, T ,ELBOW & N/C valve fitting on the wall. As Per Actual Running Feet as per Site Work | 300 | R.ft | Normal Item | 708 | 212400 | Normal Item | 826 | 247800 | Normal Item | 472 | 141600
44 | LPG Gas Leakage Detector FEATURES Provides a fast & reliable response by using Catalytic / Pellistor / Semiconductor technology for detecting a leak of LPG. Optimized for detection of smallest Gas leaks with Integrated Buzzer and Flasher. Highly resistant to poisoning & etching. Isolated RS-485 communication port with MODBUS RTU protocol.Non-intrusive programming with Magnetic Wand in FLAMEPROOF MODEL. Programming with Front Keys in WEATHERPROOF MODEL. Password-protected programming menu. Optional 2 numbers Alarm Relay Contacts configuration for Alarm 1 / Alarm 2/ Fault. APPROVAL & COMPLIANCE ? Approval & compliance for flameproof: Certified to Ex d IP65 For Gas Group IIA, IIB ? Standard compliance : IS/IEC 60079-0: 2011 IS/IEC 60079-1: 2007 IS/IEC 60529: 2001 | 2 | NOS | Normal Item | 76700 | 153400 | Normal Item | 165200 | 330400 | Normal Item | 59000 | 118000
45 | MANI FOLD 6 point cylinder, gas meter, 1 stage regulator cupper pipe complete work. | 2 | NOS | Normal Item | 29936.6 | 59873 | Normal Item | 47200 | 94400 | Normal Item | 5310 | 10620
46 | The period of comprehensive Annual Manitenance contract would be two years. The firm shall be responsible for maintenance of kitchen items and keep them in working order by placing the services of experienced person throughout the AMC period. Maintenance of kitchen items shall be carried out during office hours. The kitchen item shall be maintained at the satisfaction of the user. The payment shall be released on 6 months regular interval basis during the AMC puriod subject to satisfactory services. | 4 | per 6 months | Normal Item | 118000 | 472000 | Normal Item | 157458 | 629832 | Normal Item | 59000 | 236000
FURNITURE SUB TOTAL: | [5 empty] | 7650813 |  |  | 6928172 |  |  | 6138950
| Grand Total |  |  |  |  | 7650813 |  |  | 6928172 |  |  | 6138950
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
[5 empty] | Executive Engineer-I |  |  | Executive Engineer-I |  |  | Executive Engineer-I
Contractor