## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023
Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | VIDYUT ENGINEERS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
1 | Supplying and fixing of following items in the existing 1x380 KVA Kirloskar Make DG Set Panel (i/c dismantled material credit to the agency):
a) | MAGNETIC PICK UP 16X1.5 THREADING (UNITCH MAKE) FOR 250 KVA WITH 110 SERIES MSSL CON. | 1 | Each | Normal Item | 1320 | 1320
b) | GENSET CONTROLLER 7 Deepsea | 1 | Each | Normal Item | 37835 | 37835
c) | VDO SENSOR ASSEMBLY | 1 | Each | Normal Item | 1835 | 1835
d) | ACTUATOR: 24V | 1 | Each | Normal Item | 38983 | 38983
e) | AVR R450-KG 47.2,KVA rating-380 to 1010 KVA, 3Ph., LS Part No.-(AEM110RE031B) | 1 | Each | Normal Item | 85664 | 85664
f) | ADAPTOR FOR GEMS LOP SENSOR | 1 | Each | Normal Item | 130 | 130
| Grand Total |  |  |  |  | 165767
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".

## combined
Central Public Works Department
DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023 | DRAFT NIT/RFP No.: NIQ NO. 23(25)/AE(E)4/DED-31/2022-23/66 DATED 15/03/2023
Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel. | Name of Work: RMO E&M Services at ARC Complex, Mayur Vihar, Phase-I, Delhi during 2022-23. SH: Replacement of faulty items in the 1x380 KVA Kirloskar make DG Set Panel.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | VIDYUT ENGINEERS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
1 | Supplying and fixing of following items in the existing 1x380 KVA Kirloskar Make DG Set Panel (i/c dismantled material credit to the agency):
a) | MAGNETIC PICK UP 16X1.5 THREADING (UNITCH MAKE) FOR 250 KVA WITH 110 SERIES MSSL CON. | 1 | Each | Normal Item | 1320 | 1320
b) | GENSET CONTROLLER 7 Deepsea | 1 | Each | Normal Item | 37835 | 37835
c) | VDO SENSOR ASSEMBLY | 1 | Each | Normal Item | 1835 | 1835
d) | ACTUATOR: 24V | 1 | Each | Normal Item | 38983 | 38983
e) | AVR R450-KG 47.2,KVA rating-380 to 1010 KVA, 3Ph., LS Part No.-(AEM110RE031B) | 1 | Each | Normal Item | 85664 | 85664
f) | ADAPTOR FOR GEMS LOP SENSOR | 1 | Each | Normal Item | 130 | 130
| Grand Total |  |  |  |  | 165767
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".