## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023
Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | NANDI ELECTRICAL WORKS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
Sub-Head-I (Sound & LED Wall
1 | Supplying and operation of PA system with following equipments on Hire basis complete with cartage and handling of the system etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event))
a) | Provision of high quality microphone sets (20 sets) with standby arrangement mounted on floor stand (Small and Long Size). Podium and table stand as per site requirement & standby microphone on each stand
b) | Provision of 18 Nos. 250W loudspeaker system consisting of columns and horns to cover Parliament House complex near iron gate no-2, 3 & outside the complex.
c) | Provision of amplifier set of suitable capacity with standby arrangement for adequate amplification with equalizer and mixer etc. for high quality output.
d) | Provision of DVD/MP-3/Pen Drive Player
e) | Provision of 5 KVA UPS with suitable batteries for 20 minute backup
f) | Wiring for the complete system as required. | 1 | Job | Normal Item | 124000 | 124000
2 | Supplying , installation and operation of LED screen and video camera for live coverage of floral tribute function to be held on 13(rehearsal) & 14 April-2023 with following equipments on Hire basis complete with cartage and handling of the system etc. as required.
a) | Provision of high quality 03 nos. outdoor LED screen ( size 16'x10')) having resolution 728 (L) x 52 (H), brightness - 7000 NITS & Pixel Pitch - 4.8 mm mounted on raised platform size (16'x4'x3') along with black masking . as per site requirement etc. complete as required at site of work.
b) | Provision of 01 no. laptop along with connectivity required for led screen data set up complete etc. as required at site of work.
c) | Provision of 01 no. LED processor along with connectivity required for led screen data processing complete etc. required at site of work.
d) | Provision of 02 no. high quality video camera along with operator and connectivity for live coverage and display over LED screen as per site/client requirement.
e) | Provision of Mixer and monitor for mixing of feed and displaying on LED screen complete etc. required at site of work.
f) | Provision of 6 Nos. 250W loudspeaker system (02 Nos. for each screen) consisting of columns and horns to cover outside area.
g) | Provision of fiber optic cables of suitable length for connectivity of all Led screen with the mixer along with spare complete as required at site. | 1 | Job | Normal Item | 512000 | 512000
Sub-Head-II (Electrical Work)
1 | Hire charges of providing, fixing and commissioning of 40/60/100 watt LED light fitting with suitable mounting arrangement as requirement i/c dismantling later on etc. as required alongwith copper conductor PVC insulated single core of suitable size circuit and submain wiring etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 30 | Nos. | Normal Item | 1190 | 35700
2 | Hire charges for 6 way TP DB with 100-125 Amp FP MCCB- 1 No. & outgoing 6-32 Amp SP MCB =18 Nos. i/c providing and fixing and making connections etc. i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 1 | No. | Normal Item | 1500 | 1500
3 | Hire charges for 200 Amp changeover i/c providing and fixing and making connections etc. i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 1 | No. | Normal Item | 1200 | 1200
4 | Hire charges for providing and fixing and commissioning power points extension boards with copper conductor PVC insulated cable of suitable size i/c dismantling later on as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 20 | Nos | Normal Item | 81 | 1620
5 | Hire charges for providing and fixing and commissioning of Air Mist Circulator Fan with suitable size of copper cable / cord and dismantling later on as required at site. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 10 | Nos. | Normal Item | 1350 | 13500
6 | Providing and Laying of Sub Main of size 4 x 35 / 50 Sq.mm flexible 1.1 KV grade PVC insulated Aluminium/copper power cable on hire basis i/c connection testing complete as required (For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 100 | Mtrs | Normal Item | 140 | 14000
Sub-Head -III (Water Dispenser)
1 | Hire charges of providing, fixing and commissioning of water dispenser i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 10 | Nos. | Normal Item | 550 | 5500
| Grand Total |  |  |  |  | 709020
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor

## combined
Central Public Works Department
DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023 | DRAFT NIT/RFP No.: 10(DB)/PHEWD/2023-24/456 Dated 05.04.2023
Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023 | Name of Work: Providing & Installation of Sound System, LED Screen and other Electrical Equipments on hiring basis for paying floral tributes on occasion of the Birth Anniversary of Babasaheb Dr. B.R. Ambedkar on 14.04.2023
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | NANDI ELECTRICAL WORKS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
Sub-Head-I (Sound & LED Wall
1 | Supplying and operation of PA system with following equipments on Hire basis complete with cartage and handling of the system etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event))
a) | Provision of high quality microphone sets (20 sets) with standby arrangement mounted on floor stand (Small and Long Size). Podium and table stand as per site requirement & standby microphone on each stand
b) | Provision of 18 Nos. 250W loudspeaker system consisting of columns and horns to cover Parliament House complex near iron gate no-2, 3 & outside the complex.
c) | Provision of amplifier set of suitable capacity with standby arrangement for adequate amplification with equalizer and mixer etc. for high quality output.
d) | Provision of DVD/MP-3/Pen Drive Player
e) | Provision of 5 KVA UPS with suitable batteries for 20 minute backup
f) | Wiring for the complete system as required. | 1 | Job | Normal Item | 124000 | 124000
2 | Supplying , installation and operation of LED screen and video camera for live coverage of floral tribute function to be held on 13(rehearsal) & 14 April-2023 with following equipments on Hire basis complete with cartage and handling of the system etc. as required.
a) | Provision of high quality 03 nos. outdoor LED screen ( size 16'x10')) having resolution 728 (L) x 52 (H), brightness - 7000 NITS & Pixel Pitch - 4.8 mm mounted on raised platform size (16'x4'x3') along with black masking . as per site requirement etc. complete as required at site of work.
b) | Provision of 01 no. laptop along with connectivity required for led screen data set up complete etc. as required at site of work.
c) | Provision of 01 no. LED processor along with connectivity required for led screen data processing complete etc. required at site of work.
d) | Provision of 02 no. high quality video camera along with operator and connectivity for live coverage and display over LED screen as per site/client requirement.
e) | Provision of Mixer and monitor for mixing of feed and displaying on LED screen complete etc. required at site of work.
f) | Provision of 6 Nos. 250W loudspeaker system (02 Nos. for each screen) consisting of columns and horns to cover outside area.
g) | Provision of fiber optic cables of suitable length for connectivity of all Led screen with the mixer along with spare complete as required at site. | 1 | Job | Normal Item | 512000 | 512000
Sub-Head-II (Electrical Work)
1 | Hire charges of providing, fixing and commissioning of 40/60/100 watt LED light fitting with suitable mounting arrangement as requirement i/c dismantling later on etc. as required alongwith copper conductor PVC insulated single core of suitable size circuit and submain wiring etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 30 | Nos. | Normal Item | 1190 | 35700
2 | Hire charges for 6 way TP DB with 100-125 Amp FP MCCB- 1 No. & outgoing 6-32 Amp SP MCB =18 Nos. i/c providing and fixing and making connections etc. i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 1 | No. | Normal Item | 1500 | 1500
3 | Hire charges for 200 Amp changeover i/c providing and fixing and making connections etc. i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 1 | No. | Normal Item | 1200 | 1200
4 | Hire charges for providing and fixing and commissioning power points extension boards with copper conductor PVC insulated cable of suitable size i/c dismantling later on as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 20 | Nos | Normal Item | 81 | 1620
5 | Hire charges for providing and fixing and commissioning of Air Mist Circulator Fan with suitable size of copper cable / cord and dismantling later on as required at site. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 10 | Nos. | Normal Item | 1350 | 13500
6 | Providing and Laying of Sub Main of size 4 x 35 / 50 Sq.mm flexible 1.1 KV grade PVC insulated Aluminium/copper power cable on hire basis i/c connection testing complete as required (For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 100 | Mtrs | Normal Item | 140 | 14000
Sub-Head -III (Water Dispenser)
1 | Hire charges of providing, fixing and commissioning of water dispenser i/c dismantling later on etc. as required. For 02 days (on 13 April-2023 (rehearsal) & 14 April-2023 (main event)) | 10 | Nos. | Normal Item | 550 | 5500
| Grand Total |  |  |  |  | 709020
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer (E)
Contractor