## Sheet0
Central Public Works Department
DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI
Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | JOSMAR CONSULTING ENGINEERS
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Conducting Topographical Digital Survey in line with the FMB and to identify and fix the boundary line as per FMB record precisely and Supply of Topographical Digital Survey Layout along with below mentioned mandatory details, in 5 Pendrives of suitable capacity in a Soft Copy Format (in the latest version of Autocad format) and 5 Sets of A0 size of Hard Copies (Colour Print) using latest digital survey equipements.
| a) The Digital Survey of entire site including Roads shall be done at maximum of 3 metre x 3 metre intervals. b) The Contour Survey at 0.10 m intervals. c) The sufficient numbers of TBMs must be fixed/Established on the Permanent Structures. d) Details of Topographical elements such as dimensions, offsets, and alignments of all existing structures, buildings, Roads, Water Bodies, Canal, Open Wells, Borewells, Trees, Electric Poles, Septic Tanks, UG Sumps, OHTs, Manholes, Drainages, Strom Water Drainages, Electric Lines, Sheds, Parking Areas, Boundary Wall and any other features existing at site etc., (Invert level of Drainages, Sewer Lines must be denoted) and similar features along the periphery of the boundary also. (Measurement for payment shall be the plot area only) (Approximate ares of plot : 25000 Sqm ) | 1 | Per Job | Normal Item | 111500 | 111500
2 | Drilling 150mm diameter bore hole in all types of soils except boulders, weathered hard rocks conducting the following field and laboratory tests and furnishing the detailed report consisting of site plan showing the locations of the bore holes with bore logs, field & laboratory test results, recommendations for the depths & types of foundations and allowable safe bearing capacities . pile carrying capacities etc., all as per the procedures given in the relevant IS codes. The Quotated Rate is inclusive of all necessary Mobilization of machineries, Men, Tools and plants along with skilled work force inclusive of loading, transporting and unloading at the base camp and all other incidential charges etc.,
A) Field Work: (i) Conducting Standard Penetration Test at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers (ii) Collecting disturbed soil samples in case of cohesionless soil layers and undisturbed soil samples in case of cohesive soil layers (the representative samples shall be at every 0.5m interval including the soil recovered from split spoon sampler) (iii) Collecting Ground Water Samples at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers as similar as Soil Sample) (iv) Observing and recording, ground water table. (v) Collecting Water Samples from Nearby Wells / Waterbodies as directed by the Engineer-in-Charge (Minimum 10 Samples).
B) Laboratory Tests: (i) Grain size analysis (ii) Atterberg's Limits (iii) Free swell test (iv) Unit weight (v) Water content, (vi) relevent Shear tests for the type of soil encountered (C& Φvalues) (for short term / long term behaviour) (vii) PH Value, (viii) Chloride Content, (ix) Sulphate Content and any other relevant tests etc., required to workout parameters required for foundation design. & (i) PH Value, (ii) Chloride Content, and (iii) Sulphate Content for Water Samples of both Ground Water & Nearby Wells / Waterbodies.
2.1 | Conducting all necessary tests as per A and B above upto 10m depth from the ground level or 3m into the very dense /very hard soil strata with consequetive three Successive N value more than 50 whichever is met earlier. (if the observed N values equal / more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata.) | 50 | Metre | Normal Item | 1416 | 70800
2.2 | For 10m to 20m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1416 | 70800
2.3 | For 20m to 30m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1180 | 59000
3 | Extra for Drilling in soft rock / refusal strata of SPT >100, drilling using Tungsten carbide Bit. The Payment shall be made as per actual usage basis. | 15 | Metre | Normal Item | 2183 | 32745
4 | Extra for Drilling in hard rock (IS 1306 : 1991) drilling using diamond pit. The Payment shall be made as per actual usage basis,) | 15 | Metre | Normal Item | 3481 | 52215
5 | Analysis of field and laboratory test results as per the relevant IS Code and Preparation of Geotechnical Report with appropiate foundation Recommendations along with detailed calculation sheets for soil bearing capacity for shallow / deep foundations with NABL certification (National Accreditation ISO 17025-2005 certified report) and with seal & Signature of Authorized Sr. Geotechnical Consultant. The Report must be submitted in Quintuplicate (5 Sets) (The Quoted rate is applicable for Maximum of 20 Bore Holes) | 1 | Per Job | Normal Item | 59000 | 59000
CIVIL SUB TOTAL: | [5 empty] | 456060
| Grand Total |  |  |  |  | 456060
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer
Contractor

## Sheet1
Central Public Works Department
DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI
Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | Prime Meridian Surveys Pvt Ltd Chennai
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Conducting Topographical Digital Survey in line with the FMB and to identify and fix the boundary line as per FMB record precisely and Supply of Topographical Digital Survey Layout along with below mentioned mandatory details, in 5 Pendrives of suitable capacity in a Soft Copy Format (in the latest version of Autocad format) and 5 Sets of A0 size of Hard Copies (Colour Print) using latest digital survey equipements.
| a) The Digital Survey of entire site including Roads shall be done at maximum of 3 metre x 3 metre intervals. b) The Contour Survey at 0.10 m intervals. c) The sufficient numbers of TBMs must be fixed/Established on the Permanent Structures. d) Details of Topographical elements such as dimensions, offsets, and alignments of all existing structures, buildings, Roads, Water Bodies, Canal, Open Wells, Borewells, Trees, Electric Poles, Septic Tanks, UG Sumps, OHTs, Manholes, Drainages, Strom Water Drainages, Electric Lines, Sheds, Parking Areas, Boundary Wall and any other features existing at site etc., (Invert level of Drainages, Sewer Lines must be denoted) and similar features along the periphery of the boundary also. (Measurement for payment shall be the plot area only) (Approximate ares of plot : 25000 Sqm ) | 1 | Per Job | Normal Item | 137500 | 137500
2 | Drilling 150mm diameter bore hole in all types of soils except boulders, weathered hard rocks conducting the following field and laboratory tests and furnishing the detailed report consisting of site plan showing the locations of the bore holes with bore logs, field & laboratory test results, recommendations for the depths & types of foundations and allowable safe bearing capacities . pile carrying capacities etc., all as per the procedures given in the relevant IS codes. The Quotated Rate is inclusive of all necessary Mobilization of machineries, Men, Tools and plants along with skilled work force inclusive of loading, transporting and unloading at the base camp and all other incidential charges etc.,
A) Field Work: (i) Conducting Standard Penetration Test at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers (ii) Collecting disturbed soil samples in case of cohesionless soil layers and undisturbed soil samples in case of cohesive soil layers (the representative samples shall be at every 0.5m interval including the soil recovered from split spoon sampler) (iii) Collecting Ground Water Samples at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers as similar as Soil Sample) (iv) Observing and recording, ground water table. (v) Collecting Water Samples from Nearby Wells / Waterbodies as directed by the Engineer-in-Charge (Minimum 10 Samples).
B) Laboratory Tests: (i) Grain size analysis (ii) Atterberg's Limits (iii) Free swell test (iv) Unit weight (v) Water content, (vi) relevent Shear tests for the type of soil encountered (C& Φvalues) (for short term / long term behaviour) (vii) PH Value, (viii) Chloride Content, (ix) Sulphate Content and any other relevant tests etc., required to workout parameters required for foundation design. & (i) PH Value, (ii) Chloride Content, and (iii) Sulphate Content for Water Samples of both Ground Water & Nearby Wells / Waterbodies.
2.1 | Conducting all necessary tests as per A and B above upto 10m depth from the ground level or 3m into the very dense /very hard soil strata with consequetive three Successive N value more than 50 whichever is met earlier. (if the observed N values equal / more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata.) | 50 | Metre | Normal Item | 1500 | 75000
2.2 | For 10m to 20m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 2000 | 100000
2.3 | For 20m to 30m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 2500 | 125000
3 | Extra for Drilling in soft rock / refusal strata of SPT >100, drilling using Tungsten carbide Bit. The Payment shall be made as per actual usage basis. | 15 | Metre | Normal Item | 3500 | 52500
4 | Extra for Drilling in hard rock (IS 1306 : 1991) drilling using diamond pit. The Payment shall be made as per actual usage basis,) | 15 | Metre | Normal Item | 4500 | 67500
5 | Analysis of field and laboratory test results as per the relevant IS Code and Preparation of Geotechnical Report with appropiate foundation Recommendations along with detailed calculation sheets for soil bearing capacity for shallow / deep foundations with NABL certification (National Accreditation ISO 17025-2005 certified report) and with seal & Signature of Authorized Sr. Geotechnical Consultant. The Report must be submitted in Quintuplicate (5 Sets) (The Quoted rate is applicable for Maximum of 20 Bore Holes) | 1 | Per Job | Normal Item | 75000 | 75000
CIVIL SUB TOTAL: | [5 empty] | 632500
| Grand Total |  |  |  |  | 632500
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer
Contractor

## Sheet2
Central Public Works Department
DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI
Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | S.Muniyappan
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Conducting Topographical Digital Survey in line with the FMB and to identify and fix the boundary line as per FMB record precisely and Supply of Topographical Digital Survey Layout along with below mentioned mandatory details, in 5 Pendrives of suitable capacity in a Soft Copy Format (in the latest version of Autocad format) and 5 Sets of A0 size of Hard Copies (Colour Print) using latest digital survey equipements.
| a) The Digital Survey of entire site including Roads shall be done at maximum of 3 metre x 3 metre intervals. b) The Contour Survey at 0.10 m intervals. c) The sufficient numbers of TBMs must be fixed/Established on the Permanent Structures. d) Details of Topographical elements such as dimensions, offsets, and alignments of all existing structures, buildings, Roads, Water Bodies, Canal, Open Wells, Borewells, Trees, Electric Poles, Septic Tanks, UG Sumps, OHTs, Manholes, Drainages, Strom Water Drainages, Electric Lines, Sheds, Parking Areas, Boundary Wall and any other features existing at site etc., (Invert level of Drainages, Sewer Lines must be denoted) and similar features along the periphery of the boundary also. (Measurement for payment shall be the plot area only) (Approximate ares of plot : 25000 Sqm ) | 1 | Per Job | Normal Item | 90000 | 90000
2 | Drilling 150mm diameter bore hole in all types of soils except boulders, weathered hard rocks conducting the following field and laboratory tests and furnishing the detailed report consisting of site plan showing the locations of the bore holes with bore logs, field & laboratory test results, recommendations for the depths & types of foundations and allowable safe bearing capacities . pile carrying capacities etc., all as per the procedures given in the relevant IS codes. The Quotated Rate is inclusive of all necessary Mobilization of machineries, Men, Tools and plants along with skilled work force inclusive of loading, transporting and unloading at the base camp and all other incidential charges etc.,
A) Field Work: (i) Conducting Standard Penetration Test at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers (ii) Collecting disturbed soil samples in case of cohesionless soil layers and undisturbed soil samples in case of cohesive soil layers (the representative samples shall be at every 0.5m interval including the soil recovered from split spoon sampler) (iii) Collecting Ground Water Samples at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers as similar as Soil Sample) (iv) Observing and recording, ground water table. (v) Collecting Water Samples from Nearby Wells / Waterbodies as directed by the Engineer-in-Charge (Minimum 10 Samples).
B) Laboratory Tests: (i) Grain size analysis (ii) Atterberg's Limits (iii) Free swell test (iv) Unit weight (v) Water content, (vi) relevent Shear tests for the type of soil encountered (C& Φvalues) (for short term / long term behaviour) (vii) PH Value, (viii) Chloride Content, (ix) Sulphate Content and any other relevant tests etc., required to workout parameters required for foundation design. & (i) PH Value, (ii) Chloride Content, and (iii) Sulphate Content for Water Samples of both Ground Water & Nearby Wells / Waterbodies.
2.1 | Conducting all necessary tests as per A and B above upto 10m depth from the ground level or 3m into the very dense /very hard soil strata with consequetive three Successive N value more than 50 whichever is met earlier. (if the observed N values equal / more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata.) | 50 | Metre | Normal Item | 1450 | 72500
2.2 | For 10m to 20m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1600 | 80000
2.3 | For 20m to 30m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1800 | 90000
3 | Extra for Drilling in soft rock / refusal strata of SPT >100, drilling using Tungsten carbide Bit. The Payment shall be made as per actual usage basis. | 15 | Metre | Normal Item | 3500 | 52500
4 | Extra for Drilling in hard rock (IS 1306 : 1991) drilling using diamond pit. The Payment shall be made as per actual usage basis,) | 15 | Metre | Normal Item | 4500 | 67500
5 | Analysis of field and laboratory test results as per the relevant IS Code and Preparation of Geotechnical Report with appropiate foundation Recommendations along with detailed calculation sheets for soil bearing capacity for shallow / deep foundations with NABL certification (National Accreditation ISO 17025-2005 certified report) and with seal & Signature of Authorized Sr. Geotechnical Consultant. The Report must be submitted in Quintuplicate (5 Sets) (The Quoted rate is applicable for Maximum of 20 Bore Holes) | 1 | Per Job | Normal Item | 100000 | 100000
CIVIL SUB TOTAL: | [5 empty] | 552500
| Grand Total |  |  |  |  | 552500
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer
Contractor

## Sheet3
Central Public Works Department
DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI
Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | J JAYAKUMAR
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Conducting Topographical Digital Survey in line with the FMB and to identify and fix the boundary line as per FMB record precisely and Supply of Topographical Digital Survey Layout along with below mentioned mandatory details, in 5 Pendrives of suitable capacity in a Soft Copy Format (in the latest version of Autocad format) and 5 Sets of A0 size of Hard Copies (Colour Print) using latest digital survey equipements.
| a) The Digital Survey of entire site including Roads shall be done at maximum of 3 metre x 3 metre intervals. b) The Contour Survey at 0.10 m intervals. c) The sufficient numbers of TBMs must be fixed/Established on the Permanent Structures. d) Details of Topographical elements such as dimensions, offsets, and alignments of all existing structures, buildings, Roads, Water Bodies, Canal, Open Wells, Borewells, Trees, Electric Poles, Septic Tanks, UG Sumps, OHTs, Manholes, Drainages, Strom Water Drainages, Electric Lines, Sheds, Parking Areas, Boundary Wall and any other features existing at site etc., (Invert level of Drainages, Sewer Lines must be denoted) and similar features along the periphery of the boundary also. (Measurement for payment shall be the plot area only) (Approximate ares of plot : 25000 Sqm ) | 1 | Per Job | Normal Item | 62250 | 62250
2 | Drilling 150mm diameter bore hole in all types of soils except boulders, weathered hard rocks conducting the following field and laboratory tests and furnishing the detailed report consisting of site plan showing the locations of the bore holes with bore logs, field & laboratory test results, recommendations for the depths & types of foundations and allowable safe bearing capacities . pile carrying capacities etc., all as per the procedures given in the relevant IS codes. The Quotated Rate is inclusive of all necessary Mobilization of machineries, Men, Tools and plants along with skilled work force inclusive of loading, transporting and unloading at the base camp and all other incidential charges etc.,
A) Field Work: (i) Conducting Standard Penetration Test at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers (ii) Collecting disturbed soil samples in case of cohesionless soil layers and undisturbed soil samples in case of cohesive soil layers (the representative samples shall be at every 0.5m interval including the soil recovered from split spoon sampler) (iii) Collecting Ground Water Samples at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers as similar as Soil Sample) (iv) Observing and recording, ground water table. (v) Collecting Water Samples from Nearby Wells / Waterbodies as directed by the Engineer-in-Charge (Minimum 10 Samples).
B) Laboratory Tests: (i) Grain size analysis (ii) Atterberg's Limits (iii) Free swell test (iv) Unit weight (v) Water content, (vi) relevent Shear tests for the type of soil encountered (C& Φvalues) (for short term / long term behaviour) (vii) PH Value, (viii) Chloride Content, (ix) Sulphate Content and any other relevant tests etc., required to workout parameters required for foundation design. & (i) PH Value, (ii) Chloride Content, and (iii) Sulphate Content for Water Samples of both Ground Water & Nearby Wells / Waterbodies.
2.1 | Conducting all necessary tests as per A and B above upto 10m depth from the ground level or 3m into the very dense /very hard soil strata with consequetive three Successive N value more than 50 whichever is met earlier. (if the observed N values equal / more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata.) | 50 | Metre | Normal Item | 4600 | 230000
2.2 | For 10m to 20m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 2250 | 112500
2.3 | For 20m to 30m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 2450 | 122500
3 | Extra for Drilling in soft rock / refusal strata of SPT >100, drilling using Tungsten carbide Bit. The Payment shall be made as per actual usage basis. | 15 | Metre | Normal Item | 3100 | 46500
4 | Extra for Drilling in hard rock (IS 1306 : 1991) drilling using diamond pit. The Payment shall be made as per actual usage basis,) | 15 | Metre | Normal Item | 4600 | 69000
5 | Analysis of field and laboratory test results as per the relevant IS Code and Preparation of Geotechnical Report with appropiate foundation Recommendations along with detailed calculation sheets for soil bearing capacity for shallow / deep foundations with NABL certification (National Accreditation ISO 17025-2005 certified report) and with seal & Signature of Authorized Sr. Geotechnical Consultant. The Report must be submitted in Quintuplicate (5 Sets) (The Quoted rate is applicable for Maximum of 20 Bore Holes) | 1 | Per Job | Normal Item | 15000 | 15000
CIVIL SUB TOTAL: | [5 empty] | 657750
| Grand Total |  |  |  |  | 657750
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
Executive Engineer
Contractor

## combined
Central Public Works Department
DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI | DRAFT NIT/RFP No.: 92R1/EE/C3D/2023-24/CHENNAI
Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION. | Name of Work: CONSTRUCTION OF PROPOSED NEW BUILDING FOR NIEPVD REGIONAL CHENNAI AT POONAMALLE CHENNAI SW PREPARATION OF DIGITALISED TOPOGRAPHICAL SURVEY PLAN AND SITE SOIL INVESTIGATION.
SCHEDULE OF QUANTITIES
Name of the Contractor / Company Name |  |  |  | JOSMAR CONSULTING ENGINEERS |  |  | Prime Meridian Surveys Pvt Ltd Chennai |  |  | S.Muniyappan |  |  | J JAYAKUMAR
S. No. | Description of Items | Quantity | Unit | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount | Quoted rates are negative or positive | Rate in Figures in Rupees | Amount
CIVIL WORK
1 | Conducting Topographical Digital Survey in line with the FMB and to identify and fix the boundary line as per FMB record precisely and Supply of Topographical Digital Survey Layout along with below mentioned mandatory details, in 5 Pendrives of suitable capacity in a Soft Copy Format (in the latest version of Autocad format) and 5 Sets of A0 size of Hard Copies (Colour Print) using latest digital survey equipements.
| a) The Digital Survey of entire site including Roads shall be done at maximum of 3 metre x 3 metre intervals. b) The Contour Survey at 0.10 m intervals. c) The sufficient numbers of TBMs must be fixed/Established on the Permanent Structures. d) Details of Topographical elements such as dimensions, offsets, and alignments of all existing structures, buildings, Roads, Water Bodies, Canal, Open Wells, Borewells, Trees, Electric Poles, Septic Tanks, UG Sumps, OHTs, Manholes, Drainages, Strom Water Drainages, Electric Lines, Sheds, Parking Areas, Boundary Wall and any other features existing at site etc., (Invert level of Drainages, Sewer Lines must be denoted) and similar features along the periphery of the boundary also. (Measurement for payment shall be the plot area only) (Approximate ares of plot : 25000 Sqm ) | 1 | Per Job | Normal Item | 111500 | 111500 | Normal Item | 137500 | 137500 | Normal Item | 90000 | 90000 | Normal Item | 62250 | 62250
2 | Drilling 150mm diameter bore hole in all types of soils except boulders, weathered hard rocks conducting the following field and laboratory tests and furnishing the detailed report consisting of site plan showing the locations of the bore holes with bore logs, field & laboratory test results, recommendations for the depths & types of foundations and allowable safe bearing capacities . pile carrying capacities etc., all as per the procedures given in the relevant IS codes. The Quotated Rate is inclusive of all necessary Mobilization of machineries, Men, Tools and plants along with skilled work force inclusive of loading, transporting and unloading at the base camp and all other incidential charges etc.,
A) Field Work: (i) Conducting Standard Penetration Test at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers (ii) Collecting disturbed soil samples in case of cohesionless soil layers and undisturbed soil samples in case of cohesive soil layers (the representative samples shall be at every 0.5m interval including the soil recovered from split spoon sampler) (iii) Collecting Ground Water Samples at regular intervals of 1m upto 5m depth & of 1.5m interval in further depths and change of layers as similar as Soil Sample) (iv) Observing and recording, ground water table. (v) Collecting Water Samples from Nearby Wells / Waterbodies as directed by the Engineer-in-Charge (Minimum 10 Samples).
B) Laboratory Tests: (i) Grain size analysis (ii) Atterberg's Limits (iii) Free swell test (iv) Unit weight (v) Water content, (vi) relevent Shear tests for the type of soil encountered (C& Φvalues) (for short term / long term behaviour) (vii) PH Value, (viii) Chloride Content, (ix) Sulphate Content and any other relevant tests etc., required to workout parameters required for foundation design. & (i) PH Value, (ii) Chloride Content, and (iii) Sulphate Content for Water Samples of both Ground Water & Nearby Wells / Waterbodies.
2.1 | Conducting all necessary tests as per A and B above upto 10m depth from the ground level or 3m into the very dense /very hard soil strata with consequetive three Successive N value more than 50 whichever is met earlier. (if the observed N values equal / more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata.) | 50 | Metre | Normal Item | 1416 | 70800 | Normal Item | 1500 | 75000 | Normal Item | 1450 | 72500 | Normal Item | 4600 | 230000
2.2 | For 10m to 20m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1416 | 70800 | Normal Item | 2000 | 100000 | Normal Item | 1600 | 80000 | Normal Item | 2250 | 112500
2.3 | For 20m to 30m Depth (If the absorved N values are more than 50, the same shall be ascertained in further depths of minimum 3m at 1m intervals and if the observed N values are less than 50 the test shall be continued further depth up to the very dense / very hard strata) | 50 | Metre | Normal Item | 1180 | 59000 | Normal Item | 2500 | 125000 | Normal Item | 1800 | 90000 | Normal Item | 2450 | 122500
3 | Extra for Drilling in soft rock / refusal strata of SPT >100, drilling using Tungsten carbide Bit. The Payment shall be made as per actual usage basis. | 15 | Metre | Normal Item | 2183 | 32745 | Normal Item | 3500 | 52500 | Normal Item | 3500 | 52500 | Normal Item | 3100 | 46500
4 | Extra for Drilling in hard rock (IS 1306 : 1991) drilling using diamond pit. The Payment shall be made as per actual usage basis,) | 15 | Metre | Normal Item | 3481 | 52215 | Normal Item | 4500 | 67500 | Normal Item | 4500 | 67500 | Normal Item | 4600 | 69000
5 | Analysis of field and laboratory test results as per the relevant IS Code and Preparation of Geotechnical Report with appropiate foundation Recommendations along with detailed calculation sheets for soil bearing capacity for shallow / deep foundations with NABL certification (National Accreditation ISO 17025-2005 certified report) and with seal & Signature of Authorized Sr. Geotechnical Consultant. The Report must be submitted in Quintuplicate (5 Sets) (The Quoted rate is applicable for Maximum of 20 Bore Holes) | 1 | Per Job | Normal Item | 59000 | 59000 | Normal Item | 75000 | 75000 | Normal Item | 100000 | 100000 | Normal Item | 15000 | 15000
CIVIL SUB TOTAL: | [5 empty] | 456060 |  |  | 632500 |  |  | 552500 |  |  | 657750
| Grand Total |  |  |  |  | 456060 |  |  | 632500 |  |  | 552500 |  |  | 657750
NOTE:
1. If quoted rates is "Normal Item" this amount will be paid to contractor/Firm by CPWD. IF quoted rates is "Minus Item" this amount will be paid to CPWD by contractor/Firm.
2. If any cells (Rates) left Blank, then the same will be treated as "Zero".
[5 empty] | Executive Engineer |  |  | Executive Engineer |  |  | Executive Engineer |  |  | Executive Engineer
Contractor